## Generators
Power Station Name (second name) | Type (ENTSOE) | Type (based on method and data from thesis MG) | Station ID | Country | Country | Operator | Group | Location | River | LAT power station | LON power station | Number of turbines | Number of pumps | Turbine/pump type | Capacity turbines [MW] | Capacity pumps [MW] | Start up time, black start [s] | Start-up time, spinning [s] | Max. generation time [hours] | Max. pumping time [hours] | Annual generation [GWh] | Annual consumption by pumps [GWh] | Historic capacity factor turbines [-] | Historic capacity factor pumps [-] | Opening date | Year latest modernization | Upper reservoir | Grand ID corresponding dam (upper reservoir) | LAT main upper reservoir | LON main upper reservoir | (Active) volume upper reservoir [Mm3] | Lower reservoir | Grand ID corresponding dam (lower reservoir) | LAT lower reservoir | LON lower reservoir | Average hydraulic head [m] | maximum energy storage potential (GWh) - Geth et al. (2015) or internet | Maximum total flow rate turbines [m3/s] | Maximum total flow rate pumps [m3/s] | Name of power plant from which the natural inflow is used | Competitive use of water upper reservoir | Remarks | Sources
Grand Maison Dam | PHS | PHS | 1 | FR | France | EDF |  | Isere | L'Eau d'Olle | 45.1453 | 6.0508 | 12 | 8 | 4 Pelton, 8 Francis pump turbines | 1790 | 1160 |  |  |  |  | 1420 | 1740 | 0.090497 | 0.17112 | 1988 |  | Grand Maison | 3412 | 45.2108 | 6.1327 | 132 | Verney | 3416 | 45.1297 | 6.0436 | 16.5 | 34.8 | 216.3 | 135 |  | no | 5.1635 | Geth et al. (2015) | https://fr.wikipedia.org/wiki/Barrage_de_Grand%27Maison | http://globalenergyobservatory.org/form.php?pid=44410 | www.grimselstrom.ch/home/download/1291
Dinorwig | PHS | PHS | 2 | UK | UK | ENGIE |  | Wales |  | 53.1186 | -4.1139 | 6 | 6 | Francis | 1728 | 1650 | 120 | 16 | 5 | 7 | 2074 |  | 0.13692 |  | 1983 |  | Marchlyn Mawr |  | 53.1369 | -4.0701 | 6.7 | Llyn Peris |  | 53.1171 | -4.1073 | 397 | 9.1 | 60 |  |  | no |  | Geth et al. (2015) | http://www.fhc.co.uk/dinorwig.htm | https://en.wikipedia.org/wiki/Marchlyn_Mawr | http://globalenergyobservatory.org/form.php?pid=44137 | http://www.eln.gov.br/opencms/export/sites/eletronorte/seminarioTecnico/arquivos/ImprovedGovernorResponse_at_the_DinorwigPower_Plant.pdf
Vianden | PHS | PHS | 3 | LU | Luxembourg | SEO / RWE | Vianden | Vianden | Our River | 49.9522 | 6.1772 | 11 | 11 | Francis | 1296 | 1050 |  |  | 4 | 7 | 1650 |  | 0.14524 |  | 1976 |  | Vianden upper |  | 49.9454 | 6.1758 | 10.8 | Vianden lower |  | 49.9527 | 6.1795 | 278.9 | 4.92 | 515 | 325 |  | no |  | Geth et al. (2015) | http://globalenergyobservatory.org/form.php?pid=45216 | https://en.wikipedia.org/wiki/Vianden_Pumped_Storage_Plant
Bieudron | STO | STO | 4 | CH | Switzerland | Grande Dixence SA | Grande Dixence | Bieudron | Rhone | 46.1853 | 7.2496 | 3 |  | Pelton | 1269 | [5 empty] | 2901 |  | 0.26079 |  | 1998 |  | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400 | Rhone |  |  |  | 1869 |  | 75 |  |  | no |  | http://enipedia.tudelft.nl/wiki/Bieudron_Powerplant | https://en.wikipedia.org/wiki/Bieudron_Hydroelectric_Power_Station
Aldeadavila | PHS | PHS | 5 | ES | Spain | Red Electrica de España | Aldeadavila | Aldeadavila de la Ribera | Douro | 41.2117 | -6.6856 | 8 | 8 | Francis | 1241.6 | 400 |  |  |  |  | 2400 |  | 0.22051 |  | 1963 |  | Aldeadavila | 2735 | 41.2146 | -6.6837 | 56.6 | (Dougo) |  |  |  | 140 |  | 153.3333 | 266.2 | Bemposta | no |  | Geth et al. (2015) | http://www.iberdrola.es/about-us/a-great-company/facilities-map/2015/ | https://en.wikipedia.org/wiki/Aldead%C3%A1vila_Dam | https://es.wikipedia.org/wiki/Presa_de_Aldead%C3%A1vila#Aldead.C3.A1vila_I | https://www.andritz.com/hy-26-aldeadavila.pdf
Kvilldal |  |  | 6 | NO | Norway | Statkraft | Ulla-Forre | Suldal | Suldalslågen | 59.5288 | 6.6542 | 4 |  | Francis | 1240 | [5 empty] | 3028 |  | 0.27857 |  | 1981 |  | Lake Blasjo | 3162 | 59.3038 | 6.9421 | 2325 |  |  |  |  | 538 |  |  |  |  | no |  | https://en.wikipedia.org/wiki/Ulla-F%C3%B8rre | http://www.statkraft.com/energy-sources/Power-plants/Norway/Kvilldal/ | https://no.wikipedia.org/wiki/Kvilldal_kraftverk | http://www.statkraft.com/media/news/2016/eu-visit-to-kvilldal/
Chiotas Piastra | PHS | PHS | 7 | IT | Italy | Enel | Entracque | Entracque |  | 44.2247 | 7.3861 | 8 | 8 | Francis | 1184 | 605.6766 |  |  |  |  | 1992 |  | 0.19193 |  | 1982 |  | Lago del Chiotas |  | 44.1663 | 7.3318 | 27.3 | Lago della Piastra |  | 44.2228 | 7.3893 | 1048 | 17.04 | 128 | 120 |  | no |  | Geth et al. (2015) | https://en.wikipedia.org/wiki/Entracque_Power_Plant | http://globalenergyobservatory.org/geoid/45432 | http://enipedia.tudelft.nl/wiki/Chiotas-piastra_Powerplant
Iron Gate I |  |  | 8 | RO | Romania | S.C. Hidroelectrica S.A. | Iron Gate | Drobeta-Turnu Severin | Donau | 44.6733 | 22.532 | 6 |  |  | 1165.8 | [5 empty] | 5400 |  | 0.52841 |  | 1972 | 1999 | Iron Gate 1 | 3880 | 44.6719 | 22.5278 | 2550 |  |  |  |  | 28 |  | 8700 |  |  | no |  | http://globalenergyobservatory.org/form.php?pid=40975 | https://en.wikipedia.org/wiki/Iron_Gate_I_Hydroelectric_Power_Station | https://ro.wikipedia.org/wiki/Por%C8%9Bile_de_Fier_I | http://www.wrmjournal.com/index.php?option=com_content&view=article&id=151&Itemid=182
Coo-Trois-Ponts | PHS | PHS | 9 | BE | Belgium | Electrabel | Coo-Trois-Ponts | Stavelot | Ambleve/Salm | 50.3867 | 5.8573 | 6 | 6 | Francis | 1164 | 1035 | 120 |  | 5 | 5.75 | 1600 |  | 0.15681 |  | 1979 |  | Coo 1, Coo 2 |  | 50.3838 | 5.8442 | 8.5 | Coo Beneden |  | 50.3897 | 5.8612 | 245 | 5 | 370 | 315 |  | no |  | Geth et al. (2015) | https://www.engie-electrabel.be/assets/be/corporate/documents/12018_Coo_Folder_NL_LR.pdf | https://en.wikipedia.org/wiki/Coo-Trois-Ponts_Hydroelectric_Power_Station | http://globalenergyobservatory.org/form.php?pid=41952 | https://fr.wikipedia.org/wiki/Centrale_de_Coo-Trois-Ponts
Sima (MR) | PHS |  | 10 | NO | Norway | Statkraft | Sima | Eidfjord |  | 60.4994 | 7.1419 | 4 | 4 | Pelton | 1120 | [5 empty] | 2840 |  | 0.28927 |  | 1980 |  | Langavatn | 3111 | 60.5527 | 7.1264 | 142.3 | (Eidfjord) |  |  |  | 1015.2679 | 8.48 |  |  |  | no/? |  | Geth et al. (2015) | http://www.statkraft.com/globalassets/old-contains-the-old-folder-structure/documents/sima-folder-eng-8s-final_tcm9-14179.pdf | https://snl.no/Sima_kraftverk
additonal reservoir |  |  | 10 | NO | Norway |  | Sima | [19 empty] | Rundavatn |  | 67.3247 | 15.9839 | 0
additonal reservoir |  |  | 10 | NO | Norway |  | Sima | [19 empty] | Rembesdalsvatn | 3112 | 60.522 | 7.2614 | 27.6
additonal reservoir |  |  | 10 | NO | Norway |  | Sima | [19 empty] | Sysenvatn | 3116 | 60.4231 | 7.4137 | 427
Goldisthal | PHS | PHS | 11 | DE | Germany | Vattenfall | Goldisthal | Goldisthal | Schwarza | 50.5081 | 11.0045 | 4 | 4 | Francis | 1053 | 1053 |  |  | 8 |  | 1806 |  | 0.19565 |  | 2004 |  | Goldisthal-oberbecken |  | 50.5095 | 11.0318 | 12 | Goldisthal-Oberes S |  | 50.4982 | 11.0074 | 302 | 8.5 |  |  |  | no |  | Geth et al. (2015) | http://powerplants.vattenfall.com/goldisthal | https://de.wikipedia.org/wiki/Goldisthal-Oberes_Schwarzatal | https://de.wikipedia.org/wiki/Goldisthal-Oberbecken
Markersbach | PHS | PHS | 12 | DE | Germany | Vattenfall | Markersbach | Markersbach | Grosse Mittweida | 50.5175 | 12.8806 | 7 | 7 | 6 Francis, 1 Ossberger | 1046 | 1046 |  |  |  |  | 980 |  | 0.10688 |  | 1979 |  | Markersbach-oberbecken |  | 50.5068 | 12.8689 | 6.3 | Markersbach-unterbecken |  | 50.5216 | 12.8828 | 288 | 4.018 |  |  |  | no |  | Geth et al. (2015) | http://powerplants.vattenfall.com/markersbach | https://en.wikipedia.org/wiki/Markersbach_Pumped_Storage_Power_Plant
Roncovalgrande (Delio) | PHS | PHS | 13 | IT | Italy | Enel |  | Maccagno |  | 46.0694 | 8.7319 | 8 | 8 | Pelton | 1040 | 784 |  |  |  |  | 983 |  | 0.10782 |  | 1973 |  | Lago Delio |  | 46.0787 | 8.7554 | 10 | Lago Maggiore | 3395 | 45.9851 | 8.6799 | 736.25 | 17.68 | 160 | 94 |  |  |  | Geth et al. (2015) | https://en.wikipedia.org/wiki/Roncovalgrande_Hydroelectric_Plant | http://globalenergyobservatory.org/geoid/45431
Edolo | PHS | PHS | 14 | IT | Italy | Enel |  | Edolo | Oglio | 46.1708 | 10.3478 | 8 | 8 | Francis | 1000 | 1120 |  |  |  |  | 737 | 1021 | 0.084075 | 0.10399 | 1984 |  | Avio, Benedetto |  | 46.1936 | 10.4715 | 17.04 | Lago Edolo |  | 46.1721 | 10.3364 | 1265 | 4.89 |  |  |  | no |  | Geth et al. (2015) | http://globalenergyobservatory.org/form.php?pid=43971 | https://en.wikipedia.org/wiki/Edolo_Pumped_Storage_Plant
Domenico Cimarosa (Presenzano) | PHS | PHS | 15 | IT | Italy | Enel |  | Presenzano | Volturno | 41.3814 | 14.0903 | 4 | 4 | Francis | 1000 | 1029 |  |  |  |  | 1717 |  | 0.19587 |  | 1991 |  | Cesima |  | 41.396 | 14.0498 | 6 | Presenzano Lower |  | 41.3774 | 14.0971 | 495 | 7 | 250.56 | 250.56 |  |  |  | Geth et al. (2015) | https://de.wikipedia.org/wiki/Pumpspeicherkraftwerk_Domenico_Cimarosa | http://enipedia.tudelft.nl/wiki/Presenzano_Powerplant
Wehr (Hornbergstufe) | PHS | PHS | 16 | DE | Germany | Sluchseewerk AG | Hotzenwaldgruppe | Wehr |  | 47.6526 | 7.9258 | 4 | 4 | Francis | 992 | 1000 |  |  | 8 |  | 1160 |  | 0.1334 |  | 1976 |  | Hornbergbecken |  | 47.6602 | 7.9609 | 4.4 | Wehrabecken |  | 47.6467 | 7.9197 | 626 | 6.073 | 180 | 144 |  |  |  | Geth et al. (2015) | http://schluchseewerk.de/images/download/TD-Wehr_Schluchseewerk.pdf | http://schluchseewerk.de/index.php/standorte/kraftwerk-wehr
Harspranget |  |  | 17 | SE | Sweden | Vattenfall |  | Harspranget | Lule | 66.885 | 19.8148 | 5 |  | Francis | 980 | [5 empty] | 2131 |  | 0.24806 |  | 1951 |  | Harspranget | 3697 | 66.8865 | 19.8178 | 6.4 | Lule |  |  |  | 107 |  | 1041 |  | Porjus |  |  | http://powerplants.vattenfall.com/harspranget | http://globalenergyobservatory.org/form.php?pid=42916 | https://en.wikipedia.org/wiki/Harspr%C3%A5nget_hydroelectric_power_station | Largest in Sweden. Other power stations at same river: Ritsem, Vietas, Satisjaure, Porjus, Seitevare, Parki, Randi, Akkats, Letsi, Ligga, Messaure, Laxede, Boden and Vitjarv
Tonstad |  |  | 18 | SE | Sweden | Sira-Kvina Kraftselskap | Sira-Kvina | Vest-Agder | Kvina | 58.6592 | 6.7169 | 5 |  | francis | 960 | [5 empty] | 3600 |  | 0.42779 |  | 1968 | 1988 | Homstolvatnet |  | 58.6935 | 8.0098 | 5.5 | Kvina |  |  |  | 442 |  | 254 |  |  |  |  | https://no.wikipedia.org/wiki/Homst%C3%B8lvatnet_(Kvinesdal) | https://no.wikipedia.org/wiki/Tonstad_kraftverk | http://www.cedren.no/Portals/Cedren/REPORT_6326_Tonstad_Hydro-peaking.pdf
Oriol (Alcantara II) | STO | STO | 19 | ES | Spain |  |  | Alcantara | Tagus | 39.73 | -6.8847 | 4 |  | Francis | 915 | [5 empty] | 1021 |  | 0.12729 |  | 1969 |  | Alcantara | 2800 | 39.7329 | -6.8854 | 3162 | Tagus |  |  |  | 130 |  | 8000 |  |  |  |  | https://en.wikipedia.org/wiki/Alc%C3%A1ntara_Dam | http://www.seprem.es/ficha.php?idpresa=579&p=23 | http://elperiodicodelaenergia.com/las-10-mayores-centrales-hidroelectricas-de-espana/ | http://enipedia.tudelft.nl/wiki/Jose_Oriol_Powerplant
Montezic | PHS | PHS | 20 | FR | France |  |  |  | Truyere | 44.7258 | 2.6489 | 4 | 4 | Francis | 910 | 870 |  |  |  |  | 1906 |  | 0.23894 |  | 1982 |  | Monnes_l'Etang |  | 44.7251 | 2.6501 | 30 | Couesques | 3429 | 44.6964 | 2.5858 | 423 | 36.4 | 240 | 240 |  |  |  | Geth et al. (2015) | https://fr.wikipedia.org/wiki/Centrale_de_Mont%C3%A9zic | http://enipedia.tudelft.nl/wiki/Montezic_Powerplant
Kruonis Pumped Storage Plant | PHS | PHS | 21 | LT | Lithuania | Lietuvos energija |  | Kruonis |  | 54.7991 | 24.2471 | 4 | 4 | Francis | 900 | 900 | 120 |  | 12 |  | 1397 |  | 0.17707 |  | 1992 | 1998 | Kruonis upper |  | 54.7828 | 24.2703 | 41 | Kaunas reservoir | 3739 | 54.8739 | 24 | 103.5 | 10.8 | 904 | 756 |  |  | daily storage, spinning reserves | Geth et al. (2015) | http://www.kruoniohae.lt/en/main/activity | https://en.wikipedia.org/wiki/Kruonis_Pumped_Storage_Plant
Pļaviņas |  |  | 22 | LV | Latvia | Latvenergo |  | Aizkraukle | Daugava | 56.5822 | 25.2373 | 10 |  | Francis | 883.5 | [5 empty] | 1563.9444 |  | 0.20194 |  | 1965 | 2010 | Plavinas Reservoir | 3737 | 56.5822 | 25.2373 | 500 | Daugava |  |  |  | 40 |  | 3000 |  |  |  |  | http://www.latvenergo.lv/portal/page/portal/english/latvenergo/main1/about_latvenergo/energy_production/hidroelektrostacijas | https://en.wikipedia.org/wiki/P%C4%BCavi%C5%86as_Hydroelectric_Power_Station | http://globalenergyobservatory.org/geoid/42156 | https://lv.wikipedia.org/wiki/P%C4%BCavi%C5%86u_HES | http://enipedia.tudelft.nl/wiki/Villarino_Powerplant
Chaira | PHS | PHS | 23 | BG | Bulgaria | Natsionalna Elektricheska Kompania EAD (NEK) | Belmeken-Sestrimo-Chaira | Sestrimo | Kriva | 42.1589 | 23.8708 | 4 | 4 | Francis | 864 | 788 |  |  | 8.5 | 10.7 | 465.242 |  | 0.061428 |  | 1999 |  | Belmeken | 3964 | 42.1746 | 23.8087 | 141.16 | Chaira |  | 42.1587 | 23.871 | 690 | 27.34 |  |  |  |  | peak load and back up. PROJECT: yadenitsa dam, would enlarge volume of lower reservoir so that continuous generation time would increase to 22 hours. | Geth et al. (2015) | http://nek.bg/index.php/en/about-us/hydro-pumped-storage-in-bulgaria-yadenitsa | http://carma.org/plant/detail/7793 | https://en.wikipedia.org/wiki/Chaira_Hydro_Power_Plant
La Muela II | PHS | PHS | 24 | ES | Spain |  |  |  | Jucar | 39.2604 | -0.91958 | 4 | 4 | Francis | 852 | 852 |  |  |  |  | 800 |  | 0.10711 |  |  |  | Muela upper reservoir | 2819 | 39.2348 | -0.92837 | 20 | Cortes de Pallas | 2817 | 39.2613 | -0.91829 | 531 | 24.5 | [5 empty] | Geth et al. (2015) | http://ocw.unican.es/ensezas-tecnicas/centrales-de-generacion-de-energia-electrica/materiales/bloque-energia-III.pdf | http://voith.com/de/11_06_Broschuere-Pumped-storage_einzeln.pdf
Aurland I |  |  | 25 | NO | Norway | E-Co Energi | Aurland | Aurland | Aurland | 60.8611 | 7.3045 | 3 |  | Pelton | 840 | [5 empty] | 2015 |  | 0.27365 |  | 1973 | 2006 | Viddalsvatn | 3104 | 60.8174 | 7.2544 | 196 | Vassbygdivatn |  |  |  | 840 |  | 96 |  | Aurland II | ? |  | http://www.e-co.no/?module=Articles;action=Article.publicOpen;ID=219 | www.e-co.no/filestore/statkraft_ToreK.pdf | http://www.ecohz.com/powerplants/aurland-1/
Almendra (Villarino) | PHS | PHS | 26 | ES | Spain | Iberdrola Generation S.A.U. |  | Almendra | Tormes | 41.2702 | -6.3208 | 6 | 6 | Francis | 810 | 728 |  |  |  |  | 885.6 |  | 0.12472 |  | 1977 |  | Almendra dam reservoir | 2733 | 41.2746 | -6.3238 | 2648.6 | (Tormes) |  |  |  | 344.855 |  | 232.5 | 232.5 |  |  |  | http://www.seprem.es/ficha.php?idpresa=52&p=2 | http://gtas.unican.es/files/pub/cigre_96.pdf | Geth et al., 2015
Super-Bissorte | PHS | PHS | 27 | FR | France | EDF |  | La Praz | Arc | 45.202 | 6.576 | 5 | 4 | 4 reversible Francis, 1 Pelton | 748 | 630 |  |  |  |  | 919 |  | 0.14016 |  | 1986 |  | Bissorte | 3413 | 45.1804 | 6.5796 | 39.5 | Pont des Chevres |  | 45.2078 | 6.5662 | 1150 | 3.15 | [5 empty] | Geth et al. (2015) | http://globalenergyobservatory.org/geoid/44379 | https://fr.wikipedia.org/wiki/Barrage_de_Bissorte
Cierny Vah | PHS | PHS | 28 | SK | Slovakia |  |  | Cierny Vah |  | 49.0088 | 19.9122 | 7 | 7 | 6 Francis, 1 Kaplan | 734.4 | 600 | 140 | 90 |  |  | 1279 |  | 0.19867 |  | 1983 |  | Cierny Vah upper |  | 49.0214 | 19.9096 | 3.7 | Cierny Vah lower |  | 49.0125 | 19.9313 | 415.775 | 3.63 | 188 |  |  |  |  | Geth et al. (2015) | https://www.seas.sk/cierny-vah-hpp | http://enipedia.tudelft.nl/wiki/Cierny_Vah_Powerplant | https://sk.wikipedia.org/wiki/%C4%8Cierny_V%C3%A1h_(vodn%C3%A1_n%C3%A1dr%C5%BE) | Gran, 1986
Rottau | PHS | PHS | 29 | AT | Austria | Verbund | Malta | Carinthia | Malta | 46.8703 | 13.3291 | 4 | 4 | Pelton | 730 | 290 |  |  |  |  | 618 |  | 0.096575 |  | 1979 |  | Galgenbichl |  | 47.0673 | 13.3516 | 4.4 | Moell |  | 46.8688 | 13.3286 | 1106 | 1.3 | 80 | 23.2 | Galgenbichl |  |  | Geth et al. (2015) | http://www.verbund.com/pp/de/pumpspeicherkraftwerk/malta-hauptstufe | https://de.wikipedia.org/wiki/Maltakraftwerke | http://globalenergyobservatory.org/geoid/44815
Revin Pumped Storage | PHS | PHS | 30 | FR | France | EDF |  | Revin |  | 49.9256 | 4.6133 | 4 | 4 | Francis | 720 | 720 | 120 |  |  |  | 1000 |  | 0.15844 |  | 1976 |  | Marquisades |  | 49.9174 | 4.6272 | 8.3 | Whitaker |  | 49.925 | 4.6076 | 245.5 | 3.6 | 400 |  |  |  |  | http://energie.edf.com/fichiers/fckeditor/Commun/En_Direct_Centrales/Hydraulique/Centres/est/publications/documents/fiche_identite_geh_revin%20_2011%20.pdf | http://globalenergyobservatory.org/geoid/39715 | https://en.wikipedia.org/wiki/Revin_Pumped_Storage_Power_Plant | Geth et al., 2015
Gabcikovo (Nagymaros Dams) |  |  | 31 | SK | Slovakia | SE |  | Gabčikovo | Donau | 47.8801 | 17.5385 | 8 |  | Kaplan | 720 | [5 empty] | 2158.726 |  | 0.34203 |  | 1995 |  | Gabcikovo |  | 47.8824 | 17.5351 | 197 |  |  |  |  | 20 |  | 4000 |  |  |  |  | https://en.wikipedia.org/wiki/Gab%C4%8D%C3%ADkovo%E2%80%93Nagymaros_Dams | https://www.seas.sk/data/contentlink/cfakepathhydro-power-plants-slovakia-2010-en.pdf | http://hydrologie.org/redbooks/a201/iahs_201_0209.pdf
Zarnowiec | PHS | PHS | 32 | PL | Poland |  |  | Zarnowiec |  | 54.7223 | 18.0824 | 4 | 4 | Francis | 716 | 800 |  |  |  |  | 706.6 |  | 0.11258 |  | 1983 | 2011 | Czymanowo |  | 54.7127 | 18.0564 | 13 | Zarnowiec |  | 54.7619 | 18.0582 | 119.3 | 3.6 | [5 empty] | Geth et al. (2015) | https://en.wikipedia.org/wiki/%C5%BBarnowiec_Pumped_Storage_Power_Station | http://enipedia.tudelft.nl/wiki/Zarnowiec_Powerplant
Saurdal | PHS | PHS | 33 | NO | Norway | Statkraft | Ulla-Forre | Suldal | Suldalslågen | 59.4828 | 6.6726 | 4 | 4 | Francis | 640 | 300 |  |  |  |  | 952 | 1189 | 0.16969 | 0.45213 | 1985 |  | Lake Blasjo | 3162 | 59.3038 | 6.9421 | 2325 | Suldalsvatnet |  | 59.496 | 6.5395 | 465 | 250.2 |  |  | Kvilldal | no |  | https://en.wikipedia.org/wiki/Ulla-F%C3%B8rre | https://no.wikipedia.org/wiki/Saurdal_kraftverk | http://www.statkraft.com/energy-sources/Power-plants/Norway/Saurdal/ | http://www.forskningsradet.no/servlet/Satellite?blobcol=urldata&blobheader=application%2Fpdf&blobheadername1=Content-Disposition%3A&blobheadervalue1=+attachment%3B+filename%3D07StatkraftAlne.pdf&blobkey=id&blobtable=MungoBlobs&blobwhere=1274464036612&ssbinary=true
Alto Lindoso Dam | PHS | PHS | 34 | PT | Portugal | EDP |  | Viana do Castelo | Lima | 41.8728 | 8.2041 | 2 | 2 | Francis | 630 | 630 |  |  |  |  | 933.8 |  | 0.16909 |  | 1992 |  | Alto Lindoso | 2713 | 41.8726 | -8.2024 | 390 | Touvedo | 2714 | 41.8126 | -8.3536 | 257.5 |  | 250 |  |  |  |  | http://globalenergyobservatory.org/geoid/43535 | https://en.wikipedia.org/wiki/Alto_Lindoso_Dam
La Muela I | PHS | PHS | 35 | ES | Spain |  |  |  |  | 39.2604 | -0.91958 | 4 | 4 | Francis | 628 | 555 |  |  |  |  | 1006 |  | 0.18274 |  |  |  | Muela upper reservoir | 2819 | 39.2348 | -0.92837 | 20 | Cortes de Pallas | 2817 | 39.2613 | -0.91829 | 450 | 24.5 | [5 empty] | Geth et al. (2015) | http://enipedia.tudelft.nl/wiki/Cortes-la_Muela_Powerplant
Dlouhe Strane | PHS | PHS | 36 | CZ | Czech Republic | CEZ |  | Loucna nad Desnou | Desna | 50.0843 | 17.181 | 2 | 2 | Francis | 624 | 650 |  |  |  |  | 152 |  | 0.027788 |  | 1996 |  | Dlouhe Strane upper |  | 50.0752 | 17.1592 | 2.72 | Dlouhe Strane lower |  | 50.0826 | 17.1823 | 510 | 2.3 | [5 empty] | http://www.cez.cz/en/power-plants-and-environment/hydraulic-power-plants/dlouhe-strane.html | https://en.wikipedia.org/wiki/Dlouh%C3%A9_str%C3%A1n%C4%9B_Hydro_Power_Plant
Svartisen |  |  | 37 | NO | Norway | Statkraft |  | Meloy |  | 66.7283 | 13.9136 | 2 |  | Francis | 600 | [5 empty] | 2200 |  | 0.41828 |  | 1993 | 2010 | Storglomvatn | 3052 | 66.7015 | 14.1751 | 3468 |  |  |  |  | 543 |  | 70 |  |  |  |  | http://www.statkraft.com/energy-sources/Power-plants/Norway/Svartisen/ | https://no.wikipedia.org/wiki/Svartisen_kraftverk
Stornorrfors |  |  | 38 | SE | Sweden | Vattenfall |  | Norrfors | Ume | 63.519 | 20.36 | 4 |  | Francis | 599 | [5 empty] | 2256 |  | 0.42965 |  | 1958 | 2010 | Stornorrfors dam |  | 63.8704 | 20.0153 | 0 |  |  |  |  | 75 |  | 975 |  |  |  | daily storage? | http://kraftverk.vattenfall.se/stornorrfors | https://no.wikipedia.org/wiki/Stornorrfors_kraftverk |  | 2nd largest in Sweden
Limberg I II | PHS | PHS | 39 | AT | Austria | Verbund |  |  |  | 47.1967 | 12.7208 | 4 | 4 | Francis | 592 | 604 |  |  |  |  | 150.4 |  | 0.028982 |  | 1956 | 2011 | Mooserboden | 3295 | 47.1979 | 11.0213 | 85.4 | Wasserfallboden |  | 47.1897 | 12.7189 | 380 | 72.82 | [5 empty] | Geth et al. (2015) | http://www.verbund.com/pp/de/pumpspeicherkraftwerk/kaprun-limberg2 | http://www.verbund.com/pp/de/pumpspeicherkraftwerk/kaprun-oberstufe
San Fiorano | PHS | PHS | 40 | IT | Italy | Enel |  | Sellero | Oglio | 46.0442 | 10.3521 | 2 | 2 | Pelton | 560 | 210 |  |  |  |  | 342 | 230 | 0.069669 | 0.12494 | 1973 |  | Lago d'Arno | 3377 | 46.0468 | 10.4301 | 38.8 | Sellero |  | 46.0479 | 10.3507 | 1424 |  | 45 | 13.5 |  |  | most production in winter time | http://francorino.altervista.org/1csanfiorano.htm | https://it.wikipedia.org/wiki/Centrale_idroelettrica_di_San_Fiorano | Zhuchkova, 1976
La Bathie | STO | STO | 41 | FR | France | EDF |  | Boudin |  | 45.6854 | 6.6225 | 6 |  | Pelton | 546 | [5 empty] | 1000 |  | 0.20893 |  | 1961 |  | Roselend | 3394 | 45.6863 | 6.6246 | 187 | [6 empty] | 50 |  |  |  |  | https://fr.wikipedia.org/wiki/Centrale_%C3%A9lectrique_de_La_B%C3%A2thie | http://globalenergyobservatory.org/geoid/39814 | http://www.usinenouvelle.com/article/un-lifting-de-50-millions-d-euros-pour-la-centrale-hydroelectrique-de-la-bathie.N174707
Kops II | PHS | PHS | 42 | AT | Austria | Vorarlberg Illwerke AG |  | Gaschurn | Ill | 46.9758 | 10.0431 | 3 | 3 | 3 Pelton turbines + 3 pumps | 525 | 480 |  |  |  |  | 1441.56 |  | 0.31324 |  | 2008 |  | Kops |  | 46.9705 | 10.1258 | 42 | Rifa |  | 46.9752 | 10.0397 | 780 | 2.34 |  |  |  |  | peaking load and back-up | https://www.illwerke.at/kopswerk-2.htm | http://globalenergyobservatory.org/geoid/45211 | Geth et al., 2015
Saucelle | STO | RoR | 43 | ES | Spain | Iberdrola Generation S.A.U. |  |  | Douro | 41.0476 | -6.804 | 6 |  | Francis | 525 | [9 empty] | 1956 |  | Saucelle | 2744 | 41.0474 | -6.804 | 181.5 |  |  |  |  | 83 |  |  |  | Aldeadavila |  |  | https://es.wikipedia.org/wiki/Presa_de_Saucelle | http://globalenergyobservatory.org/geoid/44131
Alqueva I II | PHS | PHS | 44 | PT | Portugal |  |  | evora/Beja | Guadiana | 38.1956 | -7.4977 | 4 | 4 | Francis | 519.2 | 433.8 |  |  |  |  | 739 | 213.8 | 0.16237 | 0.056262 | 2004 | 2013 | Alqueva | 2857 | 38.1954 | -7.4954 | 3150 | Pedrogao |  | 38.1106 | -7.6292 | 63.1 | 5.76 | 203.2 |  |  |  |  | Geth et al., 2015 | https://de.wikipedia.org/wiki/Talsperre_Pedr%C3%B3g%C3%A3o | https://de.wikipedia.org/wiki/Talsperre_Alqueva
Ciunget |  |  | 45 | RO | Romania | Hidroelectrica | Lotru-Ciunget | Ciunget | Lotru | 45.447 | 23.7682 | 3 |  | Pelton | 510 |  | 300 |  |  |  | 1150 |  | 0.25723 |  | 1973 |  | Vidra | 3856 | 45.4306 | 23.7333 | 340 |  |  |  |  | 800 | [5 empty] | peak load + multi-annual storage | http://hidroelectrica.ro/Details.aspx?page=55 | https://en.wikipedia.org/wiki/Lotru-Ciunget_Hydroelectric_Power_Station | http://www.ct.upt.ro/buletinhidro/Files/2012/0014-GRECEA_GRIDAN_HIDRO_2012.pdf
Silz | STO | STO | 46 | AT | Austria | TIWAG | Sellrain-Silz | Silz |  | 47.2698 | 10.9678 | 2 |  | Pelton | 500 | [5 empty] | 718.6 |  | 0.16395 |  | 1981 |  | Laengental |  | 47.212 | 11.001 | 3 |  |  |  |  | 1257.5 | [6 empty] | https://www.hs-mainz.de/fileadmin/content/fb1/pdf/Bau/Exkursionen/Kraftwerksgruppe_Sellrain-Silz.pdf | https://de.wikipedia.org/wiki/Kraftwerksgruppe_Sellrain-Silz#cite_note-tiwag-1 | https://www.tiroler-wasserkraft.at/www_tiwag/de/hn/stromerzeugung/kraftwerkspark/kuehtai/index.php
Anapo | PHS | PHS | 47 | IT | Italy | Enel |  | Syracuse | Anapo | 37.1183 | 15.1394 | 4 | 4 | ? | 500 | 600 | [10 empty] | Anapo upper reservoir |  | 37.1291 | 15.1393 | 5.6 | Anapo lower reservoir |  | 37.1113 | 15.1422 | 312 | 4 | 196 |  |  |  | peaking load and back-up | Geth et al. (2015) | http://globalenergyobservatory.org/geoid/45434
Porabka-zar | PHS | PHS | 48 | PL | Poland | PGE Energia Odnawialna S.A. |  |  |  | 49.7804 | 19.2116 | 4 | 4 | Francis | 500 | 540 | 180 |  | 4 | 5.5 | 640 | 850 | 0.14602 | 0.17957 | 1979 |  | Zar |  | 49.7873 | 19.23 | 2 | Miedzybrodzie | 3768 | 49.807 | 19.2014 |  | 2 | 140.4 | 119.2 |  |  |  | Geth et al. (2015) | https://pl.wikipedia.org/wiki/Elektrownia_Por%C4%85bka-%C5%BBar
Rodundwerk I II | PHS | PHS | 49 | AT | Austria | Vorarlberger Illwerke AG |  | Montafon |  | 47.0851 | 9.8813 | 5 | 5 | Francis | 493 | 317 |  |  |  |  | 818 |  | 0.18928 |  | 1943 | 2011 | Latschau |  | 47.076 | 9.8745 | 2.24 | Rodund |  | 47.0859 | 9.8765 | 353 | 1.75 | 158 | 113 |  |  |  | Geth et al. (2015) | https://de.wikipedia.org/wiki/Rodundwerk | https://de.wikipedia.org/wiki/Rodundwerk_II
Zakucac |  |  | 50 | HR | Croatia | Hrvatska elektroprivreda |  | Zakucac | Cetina | 43.4581 | 16.7027 | 4 |  | Francis | 486 | [5 empty] | 1701.46 |  | 0.39938 |  | 1962 | 2015 | Zakucac |  | 43.5461 | 16.7367 | 0 |  |  |  |  | 250.4 |  | 220 |  |  |  | diversion type. daily storage? | http://www.hep.hr/proizvodnja/en/basicdata/hydro/south/zakucac.aspx | https://en.wikipedia.org/wiki/Zaku%C4%8Dac_Hydroelectric_Power_Plant | http://globalenergyobservatory.org/geoid/44832
Rana (MR) |  |  | 51 | NO | Norway |  |  | Rana |  |  |  | 4 |  | Francis | 485 | [5 empty] | 1975 |  | 0.46454 |  |  |  | Akersvatnet | 3054 | 66.1796 | 14.4504 | 1244.7 | [11 empty] | http://www.statkraft.com/energy-sources/Power-plants/Norway/Rana/
additonal reservoir |  |  | 51 | NO | Norway |  |  | Rana | [18 empty] | Kallvatnet |  | 66.237 | 14.932 | 706 | [11 empty] | https://no.wikipedia.org/wiki/Kallvatnet
additonal reservoir |  |  | 51 | NO | Norway |  |  | Rana | [18 empty] | Gresvatnet |  | 66.06 | 14.46 | 314 | [11 empty] | https://no.wikipedia.org/wiki/Gresvatnet
additonal reservoir |  |  | 51 | NO | Norway |  |  | Rana | [18 empty] | Kjensvat |  | 66.0697 | 14.2533 | 28 | [11 empty] | https://no.wikipedia.org/wiki/Kjennsvat
Waldeck II | PHS | PHS | 52 | DE | Germany |  |  | Hemfurth-Edersee |  | 51.1665 | 9.0466 | 2 | 2 | Francis | 480 | 476 |  |  |  |  | 1175 |  | 0.27925 |  | 1974 |  | Oberbecken Waldeck II |  | 51.1583 | 9.025 | 4.4 | Affoldener See | 3212 | 51.1828 | 9.0591 | 329 | 3.428 | [5 empty] | https://de.wikipedia.org/wiki/Pumpspeicherkraftwerk_Waldeck#Waldeck_II | http://globalenergyobservatory.org/geoid/44356 | Geth et al., 2015
Cedillo | STO | RoR | 53 | ES | Spain | Iberdrola Generation S.A.U. |  |  | Tajo | 39.6653 | -7.5402 | 4 |  |  | 473 | [5 empty] | 517 |  | 0.12469 |  |  |  | Cedillo | 2803 | 39.6649 | -7.54 | 260 |  |  |  |  | 43 | [6 empty] | https://www.iberdrola.es/webibd/gc/prod/en/doc/INFORMEANUAL.pdf | http://enipedia.tudelft.nl/wiki/Cedillo_Powerplant | https://imammaolana.files.wordpress.com/2010/11/hydraulic_machines_textbook.pdf
Porjus |  |  | 54 | SE | Sweden | Vattenfall |  | Porjus | Lule | 66.9543 | 19.7961 | 2 |  | Francis | 465 | [5 empty] | 2063 |  | 0.50611 |  | 1915 | 1975 | Porjus | 3696 | 66.959 | 19.8054 | 610 |  |  |  |  | 60 |  | 940 |  |  |  |  | http://powerplants.vattenfall.com/porjus | https://sv.wikipedia.org/wiki/Porjus_kraftverk |  | 3rd largest in Sweden
Messaure |  |  | 55 | SE | Sweden | Vattenfall |  | Messaure | Lule | 66.6911 | 20.3436 | 3 |  | Francis | 463 | [5 empty] | 1960 |  | 0.48292 |  | 1963 |  | Messaure dam | 3700 | 66.687 | 20.3347 | 54 |  |  |  |  | 87 |  |  |  | Harspranget |  |  | http://powerplants.vattenfall.nl/messaure | http://enipedia.tudelft.nl/wiki/Sweden/Hydro |  | 101 m dam
Cheylas (MR) | PHS | PHS | 56 | FR | France |  |  |  | Flumet | 45.385 | 5.999 | 2 | 2 | Francis | 460 | 480 |  |  |  |  | 855 |  | 0.21203 |  | 1979 | 2011 | Flumet |  | 45.3823 | 6.0593 | 4.7 | Cheylas |  | 45.3831 | 5.988 | 261 | 2.88 | 220 | 170 |  |  |  | Geth et al. (2015) | http://globalenergyobservatory.org/form.php?pid=39785 | https://fr.wikipedia.org/wiki/Lac_du_Flumet | http://energie.edf.com/fichiers/fckeditor/DP_Visite_Cheylas.pdf | http://www.hydroweb.fr/hydroweb.php?page=hydro_centrales.php&HWC=9
additonal reservoir |  | RoR | 56 | FR | France | [21 empty] | Longefan |  | 45.2876 | 6.3588 | 1.7 | [11 empty] | http://www.hydroweb.fr/hydroweb.php?page=hydro_centrales.php&HWC=9
Letsi |  |  | 57 | SE | Sweden |  |  | Letsi | Lesser Lule River | 66.4996 | 20.3546 | 3 |  | Francis | 456 | [5 empty] | 1857 |  | 0.46456 |  | 1967 |  | Letsi | 3703 | 66.5024 | 20.3744 | 68 |  |  |  |  | 135 | [6 empty] | http://powerplants.vattenfall.com/letsi | http://globalenergyobservatory.org/geoid/44343 |  | First and largest in the river
Dalesice | PHS | PHS | 58 | CZ | Czech Republic | ČEZ |  | Kramolin | Jihlava | 49.1244 | 16.1242 | 4 | 4 | Francis | 450 | 450 |  |  |  |  | 170 |  | 0.043096 |  | 1978 | 2007 | Dalesice | 3786 | 49.1287 | 16.1171 | 127.3 | Mohelno | 3788 |  |  | 80 | 2.3 |  |  |  | yes, water reservoir nuclear power station |  | http://www.cez.cz/en/power-plants-and-environment/hydraulic-power-plants/dalesice.html | Geth et al., 2015
San Giacomo | PHS | PHS | 59 | IT | Italy | Enel |  | Valle del Vomano |  |  |  | 6 | 6 | 5 Pelton, 1 Francis | 448 | 448 |  |  |  |  | 290.9 |  | 0.074074 |  | 1950 |  | Provvidenza |  | 42.5076 | 13.4054 | 1.69 | Piaganini |  | 42.561 | 13.5633 | 656.6 |  | 85 | 7.73 | Provvidenza |  |  | https://www.enel.it/it-it/documents/azienda/ambiente/dichiarazioni_ambientali/montorio_da2007_2008.pdf | Geth et al., 2015 | https://it.wikipedia.org/wiki/Centrale_idroelettrica_di_San_Giacomo | https://it.wikipedia.org/wiki/Lago_di_Provvidenza
Gento-Sallente | PHS | PHS | 60 | ES | Spain |  |  |  |  | 42.5004 | 0.99149 | 4 | 4 |  | 446 | 468 |  |  |  |  | 493 |  | 0.1261 |  | 1986 |  | Gento |  | 42.5035 | 0.99069 | 3 | Sallente |  | 42.5043 | 0.99031 | 372 | 0.9 | 125 |  |  |  |  | Geth et al. (2015) | https://es.wikipedia.org/wiki/Embalse_de_Sallente | http://www.tremp.cat/public/153/file/Recrecimiento%20Presa%20Estany%20Gento.pdf | http://enipedia.tudelft.nl/wiki/Estany_Gento-sallente_Powerplant
Picote I + II | RoR | RoR | 61 | PT | Portugal | EDP |  | Braganca | Douro | 41.3783 | -6.3516 | 4 |  | Francis | 441 | [5 empty] | 1112.6 |  | 0.28781 |  | 1958 | 2011 | Picote | 2730 | 41.3793 | -6.3517 | 13.43 |  |  |  |  | 74 |  |  |  | Miranda |  |  | http://www.a-nossa-energia.edp.pt/arquivo_conteudos/resources/brochures/folheto_picote2.pdf | https://en.wikipedia.org/wiki/Picote_Dam | http://globalenergyobservatory.org/geoid/43538
Tierfehd | PHS | PHS | 62 | CH | Switzerland |  | Linth–Limmern | Glarus | Linth | 46.85 | 9.0008 | 6 | 6 | 5 Pelton 1 Francis | 441 | 140 | [8 empty] | 1968 |  | Limmern | 3311 | 46.8454 | 9.0104 | 92 | Tierfehd |  |  |  | 623 | 0.67 | 55.3 | 20 |  |  |  | http://www.bachmann.info/uploads/tx_sbdownloader/Applikationsbeitrag_Rittmeyer_EN.pdf | https://en.wikipedia.org/wiki/Linth%E2%80%93Limmern_Power_Stations | Geth et al., 2015 | Statistik der Wasserkraftanlagen der Schweiz
Pouget (MR) | PHS | PHS | 63 | FR | France | EDF |  | Mas Audran | Tarn | 44.0597 | 2.77 | 5 | 1 | 3 Pelton, 1 Francis, 1 reversible Francis | 440 | 32.92 | [8 empty] | 1952 | 1983 | Villefranche-de-Panat | 3438 | 44.0922 | 2.7023 | 10.9 | (river) |  |  |  | 461.2 | 0.71 | [5 empty] | Geth et al., 2015 | https://en.wikipedia.org/wiki/Le_Pouget_(power_station)
additonal reservoir |  | STO | 63 | FR | France | [21 empty] | Pareloup |  | 44.1994 | 2.7394 | 167 | [11 empty] | https://en.wikipedia.org/wiki/Lac_de_Pareloup
Kremasta |  |  | 64 | EL | Greece |  |  | Kremasta Sykias | Achelous | 38.884 | 21.4938 | 4 |  | Francis | 437 | [5 empty] | 714 |  | 0.18639 |  | 1976 |  | Kremasta | 4026 | 38.8872 | 21.4953 | 4750 |  |  |  |  | 160 | [6 empty] | http://enipedia.tudelft.nl/wiki/Kremasta_Powerplant | https://en.wikipedia.org/wiki/Kremasta_(lake) | https://en.wikipedia.org/wiki/Kremasta_Dam | http://globalenergyobservatory.org/geoid/42794
Tokke |  |  | 65 | NO | Norway | Statkraft |  | Tokke |  | 59.4444 | 8.0383 | 4 |  | Francis | 430 | [5 empty] | 2124 |  | 0.56349 |  |  |  | Vinjevatn |  | 59.6097 | 7.8543 | 11.2 | Bandak |  | 59.4413 | 8.0355 | 377 | [6 empty] | http://www.statkraft.no/Energikilder/vaare-kraftverk/norge/Tokke/ | https://en.wikipedia.org/wiki/Tokke_Hydroelectric_Power_Station | https://en.wikipedia.org/wiki/Bandak | https://no.wikipedia.org/wiki/Tokke_kraftverk | https://books.google.nl/books?id=nfGPXqfQ91cC&pg=PA201&lpg=PA201&dq=volume+lake+vinjevatn&source=bl&ots=T0dVtcBGuR&sig=Vm_GpL_yVOSnUgHxPwBut7yk3ms&hl=en&sa=X&ved=0ahUKEwjynuW10P3MAhVqOJoKHYM7AKMQ6AEIHDAA#v=onepage&q=volume%20lake%20vinjevatn&f=false
Bemposta | RoR | RoR | 66 | PT | Portugal | EDP |  | Braganca | Douro | 41.3017 | -6.4697 | 4 |  | Francis | 429.5 | [5 empty] | 1058.1 |  | 0.28104 |  | 1964 | 2011 | Bemposta | 2732 | 41.3009 | -6.4694 | 14.43 |  |  |  |  | 68.3318 |  |  |  | Picote |  |  | https://en.wikipedia.org/wiki/Bemposta_Dam
Grosio | RoR | RoR | 67 | IT | Italy | A2A |  | Grosio | Adda | 46.2918 | 10.2665 | 4 |  | Pelton | 428 | [5 empty] | 728.4 |  | 0.19414 |  | 1960 |  | Val Grosina |  | 46.3288 | 10.2473 | 1.2 |  |  |  |  | 588.2 |  |  |  | Premadio |  |  | http://www.a2a.eu/it/impianti_reti/idroelettrica/grosio.html | http://www.a2a.eu/it/impianti_reti/idroelettrica/val_grosina.html | https://it.wikipedia.org/wiki/Centrale_idroelettrica_di_Grosio | http://enipedia.tudelft.nl/wiki/Grosio_Powerplant
Genissiat | RoR | RoR | 68 | FR | France | CNR |  | Genissiat | Rhone | 46.0527 | 5.8129 | 6 |  | Francis | 420 | [5 empty] | 1700 |  | 0.46174 |  | 1948 |  | Genissiat | 3373 | 46.0538 | 5.8129 | 56 |  |  |  |  | 67 |  | 750 |  |  |  |  | https://en.wikipedia.org/wiki/G%C3%A9nissiat_Dam#/media/File:Rhone_structure_pente.jpg | http://globalenergyobservatory.org/geoid/39698 | https://fr.wikipedia.org/wiki/Barrage_de_G%C3%A9nissiat
Riga |  |  | 69 | LV | Latvia | Latvenergo |  | Salaspils | Daugava | 56.8513 | 24.272 | 6 |  | Kaplan | 402 | [5 empty] | 674 |  | 0.19126 |  | 1974 |  | Riga | 3735 | 56.8521 | 24.2746 | 340 | (Daugava) |  |  |  | 18 |  |  |  | Kegums |  | Used as compensation for thermic power station | http://www.latvenergo.lv/portal/page/portal/english/latvenergo/main1/about_latvenergo/energy_production/hidroelektrostacijas | http://enipedia.tudelft.nl/wiki/Riga_HPP_Powerplant | http://globalenergyobservatory.org/geoid/42158 | https://en.wikipedia.org/wiki/Riga_Hydroelectric_Power_Plant
Cruachan | PHS | PHS | 70 | UK | UK | Scottish Power |  | Argyll and Bute | Awe | 56.4064 | -5.1131 | 4 | 4 | Francis | 400 | 400 |  |  |  |  | 705 |  | 0.20106 |  | 1965 |  | Cruachan |  | 56.4071 | -5.1127 | 10 | Loch Awe |  | 56.3802 | -5.0737 | 349.5 | 10 | 167 | 200 |  |  |  | https://en.wikipedia.org/wiki/Cruachan_Power_Station | Geth et al., 2015 | https://en.wikipedia.org/wiki/Loch_Awe | https://books.google.nl/books?id=cb3dAgAAQBAJ&pg=PA85&lpg=PA85&dq=usable+capacity+loch+Awe&source=bl&ots=eMZEbpnmg4&sig=bMGoVTr6IMvJqYwdgDm51zUpAbE&hl=nl&sa=X&ved=0ahUKEwiMqsegoKrNAhWkHsAKHbfcApoQ6AEINTAD#v=onepage&q=usable%20capacity%20loch%20Awe&f=false
Kaunertal | STO | STO | 71 | AT | Austria | TIWAG |  | Kaunertal | Inn | 47.0341 | 10.7481 | 5 |  | Pelton | 392 | [5 empty] | 661 |  | 0.19236 |  | 1964 |  | Gepatsch | 3309 | 46.9555 | 10.7406 | 140 |  |  |  |  | 844 |  | 54 |  |  |  |  | https://www.tiroler-wasserkraft.at/www_tiwag/de/hn/stromerzeugung/kraftwerkspark/kaunertal/index.php
Nendaz | STO | STO | 72 | CH | Switzerland | Grande Dixence SA | Grande Dixence | Nendaz | Rhone | 46.1833 | 7.3 | 6 |  | Pelton | 390 | [5 empty] | 932.875 |  | 0.27287 |  | ? |  | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400 |  |  |  |  | 1008 |  | 46 |  | Fionnay | no |  | http://enipedia.tudelft.nl/wiki/Nendaz_Powerplant | http://www.grande-dixence.ch/energie/hydraulic/switzerland/nendaz-power-station-altitude.html
Thisavros | PHS | PHS | 73 | EL | Greece |  |  | Drama | Nestos | 41.3544 | 24.3669 | 3 | 3 | Francis | 384 | 384 |  |  |  |  | 440 |  | 0.13071 |  | 1997 |  | Thissavros | 3991 | 41.354 | 24.3664 | 565 | Platanovryssi | 3992 | 41.3365 | 24.4621 | 135 | 3.82 |  |  |  | irrigation |  | https://en.wikipedia.org/wiki/Thisavros_Dam | https://de.wikipedia.org/wiki/Thissavros | Geth et al., 2015
Serre-Poncon | STO | STO | 74 | FR | France |  |  | Rousset | Durance | 44.4716 | 6.2706 | 4 |  | Francis | 380 | [5 empty] | 700 |  | 0.21014 |  | 1960 |  | Serre-Poncon | 3433 | 44.4719 | 6.2706 | 1270 |  |  |  |  | 128 |  | 300 |  |  |  |  | http://globalenergyobservatory.org/geoid/39770 | https://fr.wikipedia.org/wiki/Lac_de_Serre-Pon%C3%A7on
Tyin |  |  | 75 | NO | Norway | Norsk Hydro |  | Ardal |  | 61.3059 | 7.7911 | 2 |  | Pelton | 380 | [5 empty] | 1400 |  | 0.42028 |  | 2004 |  | Tyin |  | 61.2989 | 8.2096 | 313 | Ardalsvatnet |  | 61.2896 | 7.7496 | 1047 | [6 empty] | http://www.hydro.com/en/Products/Hydropower/Our-power-plants/Tyin/ | https://en.wikipedia.org/wiki/Tyin_Hydroelectric_Power_Station | https://snl.no/Tyin_kraftverk
Tajo De la Encantada (El Chorro) | PHS | PHS | 76 | ES | Spain | Red Electrica de España |  | El Chorro | Guadalhorce | 36.9084 | -4.7629 | 4 | 4 | ? | 380 | 360 | [8 empty] | 1977 |  | Tajo de la Encantada upper |  | 36.9038 | -4.7781 | 4 | Tajo de la Encantada |  | 36.9079 | -4.7626 | 341 | 1 | 108.8 | 98 |  |  |  | Geth et al. (2015) | http://www.embalses.net/pantano-876-tajo-de-la-encantada.html | http://andaluciarustica.com/en/tajo-de-la-encantada-dam.htm | http://presasyembalsesdeandalucia.es/presas/tajo_de_la_encantada/index.html | http://www.uco.es/termodinamica/ppt/pdf/fluidos%2013.pdf
Miranda | RoR | RoR | 77 | PT | Portugal |  |  | Braganca |  | 41.4898 | -6.2639 | 4 |  | Francis | 369.52 | [5 empty] | 897.8 |  | 0.27717 |  | 1960 | 1995 | Miranda | 2727 | 41.49 | -6.2642 | 6.66 |  |  |  |  | 54.0605 |  | 470 |  |  |  |  | https://en.wikipedia.org/wiki/Miranda_Dam
Orlik |  |  | 78 | CZ | Czech Republic | CEZ |  | Solenice | Vltava | 49.6068 | 14.1812 | 4 |  | Kaplan | 364 |  | 128 |  |  |  | 300 |  | 0.09402 |  | 1961 | 2002 | Orlik | 3263 | 49.6068 | 14.1812 | 703.8 |  |  |  |  | 70.5 |  | 200 |  |  |  | primarily peak demand | https://www.cez.cz/en/power-plants-and-environment/hydraulic-power-plants/orlik.html | https://cs.wikipedia.org/wiki/Vodn%C3%AD_elektr%C3%A1rna_Orl%C3%ADk | https://en.wikipedia.org/wiki/Orl%C3%ADk_Dam | http://www.casopisstavebnictvi.cz/oprava-vyvaru-vodniho-dila-orlik_N985
Monteynard | STO | STO | 79 | FR | France | EDF |  | La Motte Saint Martin | Drac | 44.9612 | 5.6888 | 4 |  | Francis | 364 | [5 empty] | 480 |  | 0.15043 |  | 1963 |  | Monteynard | 3421 | 44.9611 | 5.6891 | 275 |  |  |  |  | 120 |  | 338 |  |  |  |  | http://globalenergyobservatory.org/form.php?pid=39790 | http://energie.edf.com/fichiers/fckeditor/Commun/En_Direct_Centrales/Hydraulique/Centres/Les_Alpes/publications/documents/PlaquetteMonteynard2011.pdf
Hausling | PHS | PHS | 80 | AT | Austria | Verbund | Hausling |  | Ziller | 47.1461 | 11.9672 | 2 | 2 | Francis | 360 | 360 |  |  |  |  | 175.2 |  | 0.055518 |  | 1988 |  | Zillergruendel | 3302 | 47.1214 | 12.0618 | 68.7 | Stillup |  | 47.1215 | 11.8672 | 726 | 11.17 | [5 empty] | http://www.verbund.com/pp/de/pumpspeicherkraftwerk/haeusling | https://en.wikipedia.org/wiki/Zillergr%C3%BCndl_Dam | http://voith.com/en/11_06_Broschuere-Pumped-storage_einzeln.pdf
Villarodin | STO | STO | 81 | FR | France | EDF |  | Villarodin | Cenise | 45.2129 | 6.7153 | 2 |  | Pelton | 357 | [5 empty] | 578 |  | 0.1847 |  | 1968 |  | Le Mont Cenis | 3411 | 45.2287 | 6.9463 | 332.2 |  |  |  |  | 880 |  | 73 |  |  |  |  | http://energie.edf.com/fichiers/fckeditor/Commun/En_Direct_Centrales/Hydraulique/Centres/Les_Alpes/publications/documents/Fiche_amenag_villarodin_BD.pdf | http://globalenergyobservatory.org/geoid/39817
Sackingen | PHS | PHS | 82 | DE | Germany | Sluchseewerk AG |  | Bad Sackingen |  | 47.5656 | 7.9536 | 4 | 4 | 4 Francis turbines + 4 pumps | 360 | 300 | [8 empty] | 1964 |  | Eggbergbecken |  | 47.5809 | 7.9597 | 2.1 | (Rhein) |  |  |  | 413 | 2.064 | [5 empty] | http://www.schluchseewerk.de/images/download/TD-BadS_Schluchseewerk.pdf | https://de.wikipedia.org/wiki/Kavernenkraftwerk_Bad_S%C3%A4ckingen | Geth et al., 2015
Ffestiniog | PHS | PHS | 83 | UK | UK | ENGIE |  | Wales |  | 52.9808 | -3.9689 | 4 | 4 |  | 360 | 300 | 60 | [7 empty] | 1963 |  | Stwlan |  | 52.9809 | -3.99 | 1.7 | Tan-y-Grisiau |  | 52.9811 | -3.9665 | 307.5 | 1.3 | 27 | 22 |  |  | uses 39% more electricity (when pumping the water back up to the Llyn Stwlan) than it actually produces | Geth et al. (2015) | https://en.wikipedia.org/wiki/Ffestiniog_Power_Station | http://www.fhc.co.uk/ffestiniog.htm
San Massenza I | PHS | PHS | 84 | IT | Italy |  |  |  |  | 46.0677 | 10.9828 | 15 | 2 | 15 Pelton turbines, 2 pumps | 350 | 350 | [10 empty] | Molveno |  | 46.1236 | 10.9574 | 32.7 | Lago Santa Massenza |  | 46.0668 | 10.9835 | 580.9 |  | 41 |  |  |  |  | Geth et al. (2015) | http://www.wikiwand.com/it/Lago_di_Santa_Massenza
Conzere-Mondragon (Bollene) | RoR | RoR | 85 | FR | France | Compagnie Nationale du Rhone (CNR) |  | Saint-Pierre de Senos | Canal de Donzere-Mondragon | 44.3037 | 4.7424 | 6 |  | Kaplan | 348 | [5 empty] | 739.8 |  | 0.24251 |  | 1952 |  | Canal Donzere-Mondragon |  | 44.3037 | 4.7424 | 0.2 |  |  |  |  | 23 |  | 1980 |  |  |  |  | https://fr.wikipedia.org/wiki/Barrage_de_Donz%C3%A8re-Mondragon | http://enipedia.tudelft.nl/wiki/Donzere_Powerplant
Grimsel 2 | PHS | PHS | 86 | CH | Switzerland | Kraftwerke Oberhasli AG | Grimsel | Grimsel | Aare | 46.5654 | 8.3278 | 4 | 4 | Francis | 348 | 352 |  |  |  |  | 600 | 720 | 0.19668 | 0.23334 | 1980 |  | Oberaar | 3330 | 46.5471 | 8.2713 | 61 | Grimsel | 3323 | 46.5471 | 8.2713 | 400 | 53.42 | 96.7 | 74.8 |  | no |  | file:///C:/Users/Marte/Desktop/kwo2019s-power-plants.pdf | www.grimselstrom.ch/home/download/1254 | Statistik der Wasserkraftanlagen der Schweiz
Bitsch (Biel) | STO | RoR | 87 | CH | Switzerland | Alpiq |  |  |  | 46.3321 | 8.012 | 3 |  | Pelton | 340 | [5 empty] | 564 |  | 0.18923 |  | 1969 |  | Gibidum | NaN | 46.372 | 8.0022 | 9.2 |  |  |  |  | 750 |  | 55 |  |  |  |  | http://www.alpiq.com/alpiq-group/our-assets/hydropower/storage-power-plants/massa-storage-power-station.jsp | http://www.hydro-exploitation.ch/wasserkraftanlagen/electra-massa.html | Statistik der Wasserkraftanlagen der Schweiz
Malgovert | STO | STO | 88 | FR | France | EDF |  | Tignes | Isere | 45.6253 | 6.7914 | 4 |  | Pelton | 332 | [11 empty] | Chevril | 3398 | 45.4932 | 6.933 | 230 |  |  |  |  | 750 | [5 empty] | Brevieres and Malgovert tap from same lake | https://en.wikipedia.org/wiki/Tignes_Dam | http://globalenergyobservatory.org/geoid/39815
Mequinenza | STO | STO | 89 | ES | Spain |  |  | Mequinenza | Ebro | 41.369 | 0.27338 | 4 |  | Francis | 324 | [5 empty] | 743 |  | 0.2616 |  | 1966 | 2010 | Mequinenza | 3503 | 41.3692 | 0.2728 | 1533.8 |  |  |  |  | 47 |  | 600 |  |  |  |  | https://es.wikipedia.org/wiki/Embalse_de_Mequinenza | https://en.wikipedia.org/wiki/Mequinenza_Dam | http://www.waterpowermagazine.com/news/newsmequinenza-plant-to-be-modernised
Iron Gate II |  |  | 90 | RO | Romania | S.C. Hidroelectrica S.A. | Iron Gate | Portile de Fier II | Donau | 46.7889 | 22.5672 | 10 |  | Kaplan | 321 | [5 empty] | 1300 |  | 0.46199 |  | 1984 |  | Iron Gate 2 | 3891 | 44.3054 | 22.5639 | 868 |  |  |  |  | 35 |  | 8700 |  | Iron Gate I | no |  | http://globalenergyobservatory.org/form.php?pid=40976 | https://en.wikipedia.org/wiki/Iron_Gate_II_Hydroelectric_Power_Station | https://ro.wikipedia.org/wiki/Por%C8%9Bile_de_Fier_I
Vinje |  |  | 91 | NO | Norway | Statkraft |  | Vinje |  | 59.6171 | 7.8564 | 3 |  | Francis | 300 | [5 empty] | 1017 |  | 0.38672 |  | 1964 |  | Totak |  | 59.7032 | 7.903 | 2360 | Vinjevatn |  | 59.6097 | 7.8543 | 278 | [6 empty] | http://www.statkraft.no/Energikilder/vaare-kraftverk/norge/Vinje/ | https://no.wikipedia.org/wiki/Vinje_kraftverk |  | https://en.wikipedia.org/wiki/Totak
Kilforsen |  |  | 92 | SE | Sweden | Vattenfall |  | Kilforsen | Fjallsjo | 63.5398 | 16.7614 | 3 |  | Francis | 296 | [5 empty] | 970 |  | 0.37383 |  | 1954 |  | Imnas |  | 63.5639 | 16.6505 | 0 | (Angerman) |  |  |  | 99 | [6 empty] | http://kraftverk.vattenfall.se/kilforsen | https://sv.wikipedia.org/wiki/Kilforsens_kraftverk |  | 6th largest in Sweden
Fionnay | STO | STO | 93 | CH | Switzerland | Grande Dixence SA | Grande Dixence | Fionnay | Rhone | 46.0332 | 7.3079 | 6 |  | Pelton | 290 | [5 empty] | 733.953 |  | 0.28871 |  | ? |  | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400 |  |  |  |  | 874 |  | 45 |  |  | no |  | http://enipedia.tudelft.nl/wiki/Fionnay-dixence_Powerplant | http://www.grande-dixence.ch/energie/hydraulic/switzerland/fionnay-power-station-altitude-1490.html
Kuhtai | PHS | PHS | 94 | AT | Austria | TIWAG | Sellrain-Silz | Kuhtai |  | 47.2094 | 11.0056 | 2 | 2 | Francis | 289 | 250 |  |  |  | 12.6 | 55.5 |  | 0.021908 |  | 1981 |  | Finstertal | 3295 | 47.1979 | 11.0213 | 60 | Laengental |  | 47.212 | 11.001 | 380 | 2.69 |  | 132 |  |  | open loop PSH | https://www.hs-mainz.de/fileadmin/content/fb1/pdf/Bau/Exkursionen/Kraftwerksgruppe_Sellrain-Silz.pdf | https://de.wikipedia.org/wiki/Kraftwerksgruppe_Sellrain-Silz#cite_note-tiwag-1 | Geth et al., 2015
Aurland III | PHS | PHS | 95 | NO | Norway | E-Co Energi | Aurland | Aurland | Aurland | 60.8831 | 7.2483 | 2 | 2 | Francis | 270 | 270 |  |  |  |  | 350 | 285 | 0.14788 | 0.12041 | 1975 |  | Nyhellervatn | 3107 | 60.8053 | 7.7497 | 448 | Vetlebotnvatn |  | 60.7905 | 7.5625 | 400 | 9.44 | 79 |  |  | ? |  | http://www.e-co.no/?module=Articles;action=Article.publicOpen;ID=219 | www.e-co.no/filestore/statkraft_ToreK.pdf | http://www.ecohz.com/powerplants/aurland-3/ | http://www.statkraft.com/energy-sources/Power-plants/Norway/Aurland-III/
Kegums |  |  | 96 | LV | Latvia | Latvenergo |  | Kegums | Daugava | 56.7405 | 24.7113 | 7 |  | Kaplan | 264.1 | [5 empty] | 551.4 |  | 0.23818 |  | 1940 | 2001 | Kegums | 3736 | 56.7372 | 24.7134 | 157 | (Daugava) |  |  |  | 14 |  |  |  | Plavinas |  |  | http://www.latvenergo.lv/portal/page/portal/english/latvenergo/main1/about_latvenergo/energy_production/hidroelektrostacijas | http://globalenergyobservatory.org/geoid/42157 | https://en.wikipedia.org/wiki/%C4%B6egums_Hydroelectric_Power_Station
Ribarroja | STO | RoR | 97 | ES | Spain |  |  |  | Ebro | 41.2424 | 0.43076 | 4 |  | Kaplan | 262.8 | [5 empty] | 287.3 |  | 0.12471 |  | 1969 |  | Ribarroja | 3505 | 41.2439 | 0.43241 | 206.9 |  |  |  |  | 27 |  | 900 |  |  |  |  | https://en.wikipedia.org/wiki/Ribarroja_Dam | https://es.wikipedia.org/wiki/Embalse_de_Riba-roja
Innertkirchen 1 (MR) | STO | STO | 98 | CH | Switzerland | Kraftwerke Oberhasli AG | Innertkirchen | Innertkirchen | Aare | 46.7021 | 8.2353 | 5 |  | Pelton | 255 | [5 empty] | 700 |  | 0.31315 |  | 1942 | 2007 | Gelmersee | 3319 | 46.6121 | 8.3221 | 14 |  |  |  |  | 664 |  | 46.5 |  |  | no |  | http://globalenergyobservatory.org/form.php?pid=45447 | http://www.grimselstrom.ch/electrical-energy/power-plants-and-dams/power-plants/ | www.grimselstrom.ch/home/download/1254 | https://www.andritz.com/index/hydro/hydronews/hy-hydro-news-27/hy-27-30-innertkirchen.htm | Statistik der Wasserkraftanlagen der Schweiz
additonal reservoir |  |  | 98 | CH | Switzerland | [21 empty] | Raeterichsboden | 3320 | 46.582 | 8.3314 | 27 | [11 empty] | Statistik der Wasserkraftanlagen der Schweiz
additonal reservoir |  |  | 98 | CH | Switzerland | [21 empty] | Grimsel | 3323 | 46.5471 | 8.2713 | 95 | [11 empty] | Statistik der Wasserkraftanlagen der Schweiz
Premadio |  | STO | 99 | IT | Italy | A2A |  |  |  | 46.4851 | 10.3534 | 6 |  | Pelton | 226 | [5 empty] | 385.3 |  | 0.19449 |  | 1956 |  | Cancano_San Giacomo | "3334/3312" | 46.5177 | 10.3184 | 187 | Val Grosina |  | 46.3288 | 10.2473 | 646.7 | [5 empty] | Two dams within "one" reservoir: treated as one | http://www.a2a.eu/en/plants_networks/idro/premadio.html | http://enipedia.tudelft.nl/wiki/Premadio_Powerplant | https://it.wikipedia.org/wiki/Centrale_idroelettrica_di_Premadio
Aurland II (MR) |  |  | 100 | NO | Norway | E-Co Energi | Aurland | Aurland | Aurland | 60.875 | 7.3223 | 3 |  | ? | 174 | [5 empty] | 396 |  | 0.25962 |  | 1982 |  | Vargevatn |  | 60.704 | 7.4917 | 0.108 | Viddalsvatn | 3104 | 60.8174 | 7.2544 |  |  |  |  | Aurland III | other hydroelectric plant, e.g. Duge |  | http://www.e-co.no/?module=Articles;action=Article.publicOpen;ID=219 | www.e-co.no/filestore/statkraft_ToreK.pdf | http://www.ecohz.com/powerplants/aurland-2/ | https://no.wikipedia.org/wiki/Store_Vargevatnet
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Svartevatn |  | 59.1552 | 6.8927 | 3.734 | [11 empty] | http://www.sirakvina.no/Prosjekter-og-anlegg/Hovedmagasiner/Svartevatn/ | https://no.wikipedia.org/wiki/Svartevatn-magasinet
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Langavatn | 3111 | 60.5527 | 7.1264 | 14.1885 | [11 empty] | https://no.wikipedia.org/wiki/Langavatnet_(Eidfjord)
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Katlavatn |  | 60.7934 | 7.4774 | 0.0425 | [11 empty] | https://no.wikipedia.org/wiki/Katlavatnet
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Bergdalsvatn
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Vesterdalstjern | [15 empty] | https://no.wikipedia.org/wiki/Vestredalstj%C3%B8rna
additonal reservoir |  |  | 100 | NO | Norway | [21 empty] | Vetlebotnvatn |  | 60.7905 | 7.5625 | 10
Hylen |  |  | 101 | NO | Norway | Statkraft | Ulla-Forre | Suldal | Suldalslågen | 58.6167 | 6.0833 | 2 |  | Francis | 160 | [5 empty] | 583 |  | 0.41567 |  | 1980 |  | Suldalsvatnet |  | 59.496 | 6.5395 | 44 |  |  |  |  | 68.5 |  |  |  | Saurdal | no |  | https://en.wikipedia.org/wiki/Ulla-F%C3%B8rre
Provvidenza | PHS | PHS | 102 | IT | Italy | Enel |  | Valle del Vomano |  | 42.5112 | 13.4106 | 3 | 3 | Francis | 141 | 141 |  |  |  |  | 70.46 |  | 0.057006 |  | 1949 |  | Lago di Campotosto |  | 42.5329 | 13.3874 | 217 | Provvidenza |  | 42.5076 | 13.4054 | 287.5 |  | 61.8 | 32.5 |  |  |  | https://www.enel.it/it-it/documents/azienda/ambiente/dichiarazioni_ambientali/montorio_da2007_2008.pdf | https://it.wikipedia.org/wiki/Centrale_idroelettrica_di_Provvidenza | Geth et al., 2015 | https://it.wikipedia.org/wiki/Lago_di_Campotosto
Rovinas Piastra | PHS | PHS | 103 | IT | Italy | Enel | Entracque | Entracque |  | 44.2247 | 7.3861 | 1 | 1 | Francis | 133.67 | 125 |  |  |  |  | 115.5556 |  | 0.098618 |  | 1982 |  | Lago della Rovina |  | 44.1761 | 7.3429 | 1.2 | Lago della Piastra |  | 44.2228 | 7.3893 | 598 | 2 | 128 | 120 |  | no |  | https://en.wikipedia.org/wiki/Entracque_Power_Plant | http://globalenergyobservatory.org/geoid/45432
Galgenbichl | PHS | PHS | 104 | AT | Austria | Verbund | Malta | Carinthia | Malta | 47.0794 | 13.3392 | 2 | 2 | Francis | 120 | 116 |  |  |  |  | 37.4 |  | 0.035554 |  | 1979 |  | Koelnbrein | 3305 | 47.0829 | 13.3338 | 205 | Galgenbichl |  | 47.0673 | 13.3516 | 198 | 2.9 | [5 empty] | http://www.verbund.com/pp/de/pumpspeicherkraftwerk/malta-oberstufe | https://de.wikipedia.org/wiki/Maltakraftwerke
Brevieres | STO | STO | 105 | FR | France | EDF |  | Tignes | Isere | 45.5038 | 6.9256 | 3 |  | Francis | 96 | [11 empty] | Chevril | 3398 | 45.4932 | 6.933 | 230 |  |  |  |  | 233 | [5 empty] | Brevieres and Malgovert tap from same lake | https://en.wikipedia.org/wiki/Tignes_Dam | http://globalenergyobservatory.org/geoid/39815
Note on B1: W. Zappa: Pumped hydro storage (PHS): Dispatchable hydro generator with both an upstream reservoir, a downstream reservoir, and the ability to pump water back from the downstream to the upstream reservoir Storage hydro (STO): Dispatchable hydro generator with an upstream reservoir Run-of-river (RoR): Hydro generator in a river with no appreciable storage capacity, thus generation is assumed to be non-dispatchable
Note on V1: Marte: year?
Note on AG1: Marte: FLOW_ACC_M3/s 160413 NewDavid_data_within_eurodata.xlsx
Note on V3: Marte: 2007, Enipedia
Note on AJ4: Marte: Exact location unclear, but it is located in the Our river (wikipedia)
Note on V8: Marte: 2007, Enipedia
Note on D9: Marte: Part of the plant is owned by Serbia, this part is not accounted for here
Note on AB10: Marte: taken together because they lay directly next to each other
Note on AF12: Marte: storage volume is neglected here, but Rundavatn is small compared to e.g. Langavatn
Note on Q16: Marte: assumed equal to turbine cap
Note on AB18: Marte: taken together because they lay directly next to each other
Note on AN19: Marte: assumed to be same as in turbine mode! estimation
Note on V22: Marte: Wikipedia. Maybe too high?
Note on V23: Marte: 2007, Enipedia
Note on V24: Marte: 2007, Enipedia
Note on AB24: Marte: names of the two dams withholding the reservoir, reservoir name unknown
Note on V25: Marte: average 1999-2011
Note on V26: Marte: average annual generation 2001-2009
Note on V27: Marte: average 2009-2011 (GEO)
Note on AK30: Marte: ? ="drain capacity". spillway capacity is 3039 m3/s. http://www.seprem.es/ficha.php?idpresa=52&p=2
Note on AM30: Marte: Marte: assumed to be same as in turbine mode! estimation
Note on R32: Marte: start up time for pumping: 170s
Note on V33: Marte: excluding pumped storage?
Note on V34: Marte: 2010
Note on V35: Marte: average 2000-2009. https://www.seas.sk/data/contentlink/cfakepathhydro-power-plants-slovakia-2010-en.pdf
Note on V36: Marte: 2007, Enipedia
Note on Q38: Marte: assumed equal to turbine cap
Note on V39: Marte: 2007, Enipedia
Note on AL39: Marte: La Muela I and II tap from same reservoir
Note on V40: Marte: in 2008
Note on AF42: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on V43: Marte: excluding pumped storage?
Note on V46: Marte: 2020 estimation enipedia (2007 not yet available)
Note on V49: Marte: power production potential at design (GEO)
Note on AF52: Marte: total = 2.3 MCM, active = 2.0 MCM (wikipedia)
Note on V54: Marte: average 2010-2014
Note on AF54: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on AF55: Marte: sum active volumes all reservoirs (wikipedia)
Note on P59: Marte: A 300 MW extension to this Power Plant is under construction
Note on V63: Marte: GEO
Note on AF63: Marte: maybe total, not active? (wikipedia). GEO says 4.8 MCM total.
Note on V65: Marte: power potential at design (GEO)
Note on Q67: Marte: assumed equal to turbine cap
Note on N68: Marte: not found. assumed same as number of turbines.
Note on V68: Marte: 2007 (enipedia)
Note on AA69: Marte: Commission Picote II
Note on H70: Marte: Tierfehd Limmern, Hintersand and Umwälzwerk taken together (Statistik der wasserkraftanlagen der Schweiz)
Note on N70: Marte: not found. assumed same as number of turbines.
Note on AB70: Marte: also: "Lake Hintersand" according to wikipedia, but coords could not be found (capacity 0.11 MCM, so small compared to Limmern). Left out here. https://en.wikipedia.org/wiki/Linth%E2%80%93Limmern_Power_Stations
Note on V73: Marte: 2007 (enipedia)
Note on AA75: Marte: commission Bemposta II
Note on V76: Marte: 2007 (enipedia)
Note on V78: Marte: average 2001-2009 (GEO)
Note on Q79: Marte: assumed equal to turbine cap
Note on K80: Marte: coordinates of Kaunertal (village) - exact location of power plant not found
Note on AB81: Marte: partly supplied by melting water from glaciers via La Borgne de Ferpècle and La Borgne d'Arolla
Note on AF84: Marte: total volume (wikipedia)
Note on AA86: Marte: commission Miranda II
Note on Q89: Marte: assumed equal to turbine cap
Note on R92: Marte: not mentioned if it is black start or spinning reserve
Note on AF93: Marte: Estimation! Area 3,27 km2 (wikipedia (italian)), 10 m water difference allowed (assumption)
Note on V94: Marte: 2007 (GEO)
Note on AF94: Marte: Estimation! Could not be found. Estimated very small: no significant broader part in canal can be seen in google.maps., except for navigation lock
Note on F96: Marte: ?
Note on V98: Marte: 1998
Note on D99: Marte: Part of the plant is owned by Serbia, this part is not accounted for here
Note on AB101: Marte: small balancing reservoir? not found. Treated as RoR without reservoir storage
Note on AF101: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on Q104: Marte: assumed equal to turbine cap
Note on O105: Marte: ?
Note on V105: Marte: average 2001-2009 (GEO)
Note on V106: Marte: 2007 (enipedia)
Note on V110: Marte: 2007 (enipedia)
Note on AF111: Marte: =deltaH*Area
Note on AF112: Marte: =deltaH*Area
Note on AF113: Marte: =150*94.59/1000 =deltaH*Area km2/1000 But… 150 is estimated! Real value can deviate
Note on AF114: Marte: =deltaH*Area
Note on Q119: Marte: assumed equal to turbine cap
Note on AJ162: Marte: nominal volume, not usable (active) volume
Note on AJ226: Marte: "infinity" (Geth et al., 2015)
Note on AJ240: Marte: "infinity" (Geth et al., 2015)
Note on AJ241: Marte: nominal volume, not usable (active) volume
Note on AM266: Marte: assumed to be same as in turbine mode! estimation
Note on U267: Marte: estimation
Note on W267: Marte: estimated future capacity factor
Note on P273: Marte: assumed equal to turbine cap

## Generators - Update
Power Station Name (second name) | Type (based on method and data from thesis MG) | Station ID | Country | LAT power station | LON power station | Upper reservoir | Grand ID corresponding dam (upper reservoir) | LAT main upper reservoir | LON main upper reservoir | (Active) volume upper reservoir [Mm3] | Lower reservoir | Grand ID corresponding dam (lower reservoir) | LAT lower reservoir | LON lower reservoir
Grand Maison Dam | PHS | 1 | FR | 45.1453 | 6.0508 | Grand Maison | 3412 | 45.2108 | 6.1327 | 132 | Verney | 3416 | 45.1297 | 6.0436
Dinorwig | PHS | 2 | GB | 53.1186 | -4.1139 | Marchlyn Mawr |  | 53.1369 | -4.0701 | 6.7 | Llyn Peris |  | 53.1171 | -4.1073
Vianden | PHS | 3 | LU | 49.9522 | 6.1772 | Vianden upper |  | 49.9454 | 6.1758 | 10.8 | Vianden lower |  | 49.9527 | 6.1795
Bieudron | STO | 4 | CH | 46.1853 | 7.2496 | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400 | Rhone
Aldeadavila | PHS | 5 | ES | 41.2117 | -6.6856 | Aldeadavila | 2735 | 41.2146 | -6.6837 | 56.6 | Dougo
Kvilldal | STO | 6 | NO | 59.5288 | 6.6542 | Lake Blasjo | 3162 | 59.3038 | 6.9421 | 2325
Chiotas Piastra | PHS | 7 | IT | 44.2247 | 7.3861 | Lago del Chiotas |  | 44.1663 | 7.3318 | 27.3 | Lago della Piastra |  | 44.2228 | 7.3893
Iron Gate I | STO | 8 | RO | 44.6733 | 22.532 | Iron Gate 1 | 3880 | 44.6719 | 22.5278 | 2550
Coo-Trois-Ponts | PHS | 9 | BE | 50.3867 | 5.8573 | Coo 1, Coo 2 |  | 50.3838 | 5.8442 | 8.5 | Coo Beneden |  | 50.3897 | 5.8612
Sima | STO | 10 | NO | 60.4994 | 7.1419 | Langavatn | 3111 | 60.5527 | 7.1264 | 142.3 | Eidfjord
Sima - additonal reservoir |  | 10 | NO |  |  | Rembesdalsvatn | 3112 | 60.522 | 7.2614 | 27.6
Sima - additonal reservoir |  | 10 | NO |  |  | Sysenvatn | 3116 | 60.4231 | 7.4137 | 427
Goldisthal | PHS | 11 | DE | 50.5081 | 11.0045 | Goldisthal-oberbecken |  | 50.5095 | 11.0318 | 12 | Goldisthal-Oberes S |  | 50.4982 | 11.0074
Markersbach | PHS | 12 | DE | 50.5175 | 12.8806 | Markersbach-oberbecken |  | 50.5068 | 12.8689 | 6.3 | Markersbach-unterbecken |  | 50.5216 | 12.8828
Roncovalgrande (Delio) | PHS | 13 | IT | 46.0694 | 8.7319 | Lago Delio |  | 46.0787 | 8.7554 | 10 | Lago Maggiore | 3395 | 45.9851 | 8.6799
Edolo | PHS | 14 | IT | 46.1708 | 10.3478 | Avio, Benedetto |  | 46.1936 | 10.4715 | 17.04 | Lago Edolo |  | 46.1721 | 10.3364
Domenico Cimarosa (Presenzano) | PHS | 15 | IT | 41.3814 | 14.0903 | Cesima |  | 41.396 | 14.0498 | 6 | Presenzano Lower |  | 41.3774 | 14.0971
Wehr (Hornbergstufe) | PHS | 16 | DE | 47.6526 | 7.9258 | Hornbergbecken |  | 47.6602 | 7.9609 | 4.4 | Wehrabecken |  | 47.6467 | 7.9197
Harspranget | STO | 17 | SE | 66.885 | 19.8148 | Harspranget | 3697 | 66.8865 | 19.8178 | 6.4 | Lule
Tonstad (Sira-Kvina) | STO | 18 | SE | 58.6592 | 6.7169 | Homstolvatnet |  | 58.6935 | 8.0098 | 5.5 | Kvina
Oriol (Alcantara II) | STO | 19 | ES | 39.73 | -6.8847 | Alcantara | 2800 | 39.7329 | -6.8854 | 3162 | Tagus
Montezic | PHS | 20 | FR | 44.7258 | 2.6489 | Monnes_l'Etang |  | 44.7251 | 2.6501 | 30 | Couesques | 3429 | 44.6964 | 2.5858
Kruonis Pumped Storage Plant | PHS | 21 | LT | 54.7991 | 24.2471 | Kruonis upper |  | 54.7828 | 24.2703 | 41 | Kaunas reservoir | 3739 | 54.8739 | 24
Pļaviņas | STO | 22 | LV | 56.5822 | 25.2373 | Plavinas Reservoir | 3737 | 56.5822 | 25.2373 | 500 | Daugava
Chaira | PHS | 23 | BG | 42.1589 | 23.8708 | Belmeken | 3964 | 42.1746 | 23.8087 | 141.16 | Chaira |  | 42.1587 | 23.871
La Muela II | PHS | 24 | ES | 39.2604 | -0.91958 | Muela upper reservoir | 2819 | 39.2348 | -0.92837 | 20 | Cortes de Pallas | 2817 | 39.2613 | -0.91829
Aurland I | STO | 25 | NO | 60.8611 | 7.3045 | Viddalsvatn | 3104 | 60.8174 | 7.2544 | 196 | Vassbygdivatn
Almendra (Villarino) | PHS | 26 | ES | 41.2702 | -6.3208 | Almendra dam reservoir | 2733 | 41.2746 | -6.3238 | 2648.6 | Tormes
Super-Bissorte | PHS | 27 | FR | 45.202 | 6.576 | Bissorte | 3413 | 45.1804 | 6.5796 | 39.5 | Pont des Chevres |  | 45.2078 | 6.5662
Cierny Vah | PHS | 28 | SK | 49.0088 | 19.9122 | Cierny Vah upper |  | 49.0214 | 19.9096 | 3.7 | Cierny Vah lower |  | 49.0125 | 19.9313
Galgenbichl | PHS | 29 | AT | 47.0794 | 13.3392 | Koelnbrein | 3305 | 47.0829 | 13.3338 | 205 | Galgenbichl |  | 47.0673 | 13.3516
Rottau | PHS | 30 | AT | 46.8703 | 13.3291 | Galgenbichl |  | 47.0673 | 13.3516 | 4.4 | Moell |  | 46.8688 | 13.3286
Reisseck II | PHS | 31 | AT | 46.8703 | 13.3291 | Grosser Mühldorfer |  | 46.9179 | 13.3753 | 7.8 | Goesskarspeicher |  | 46.9827 | 13.3289
Revin Pumped Storage | PHS | 32 | FR | 49.9256 | 4.6133 | Marquisades |  | 49.9174 | 4.6272 | 8.3 | Whitaker |  | 49.925 | 4.6076
Gabcikovo (Nagymaros Dams) | STO | 33 | SK | 47.8801 | 17.5385 | Gabcikovo | 3806 | 47.8824 | 17.5351 | 197
Zarnowiec | PHS | 34 | PL | 54.7223 | 18.0824 | Czymanowo |  | 54.7127 | 18.0564 | 13 | Zarnowiec |  | 54.7619 | 18.0582
Saurdal | PHS | 35 | NO | 59.4828 | 6.6726 | Lake Blasjo | 3162 | 59.3038 | 6.9421 | 2325 | Suldalsvatnet |  | 59.496 | 6.5395
Alto Lindoso Dam | PHS | 36 | PT | 41.8728 | 8.2041 | Alto Lindoso | 2713 | 41.8726 | -8.2024 | 390 | Touvedo | 2714 | 41.8126 | -8.3536
La Muela I | PHS | 37 | ES | 39.2604 | -0.91958 | Muela upper reservoir | 2819 | 39.2348 | -0.92837 | 20 | Cortes de Pallas | 2817 | 39.2613 | -0.91829
Dlouhe Strane | STO | 38 | CZ | 50.0843 | 17.181 | Dlouhe Strane upper |  | 50.0752 | 17.1592 | 2.72 | Dlouhe Strane lower |  | 50.0826 | 17.1823
Svartisen | STO | 39 | NO | 66.7283 | 13.9136 | Storglomvatn | 3052 | 66.7015 | 14.1751 | 3468
Stornorrfors | STO | 40 | SE | 63.519 | 20.36 | Stornorrfors dam |  | 63.8704 | 20.0153 | 0
Limberg I II | PHS | 41 | AT | 47.1967 | 12.7208 | Mooserboden | 3295 | 47.1979 | 11.0213 | 85.4 | Wasserfallboden |  | 47.1897 | 12.7189
San Fiorano | PHS | 42 | IT | 46.0442 | 10.3521 | Lago d'Arno | 3377 | 46.0468 | 10.4301 | 38.8 | Sellero |  | 46.0479 | 10.3507
La Bathie | STO | 43 | FR | 45.6854 | 6.6225 | Roselend | 3394 | 45.6863 | 6.6246 | 187
Kops II | PHS | 44 | AT | 46.9758 | 10.0431 | Kops |  | 46.9705 | 10.1258 | 42 | Rifa |  | 46.9752 | 10.0397
Saucelle | RoR | 45 | ES | 41.0476 | -6.804 | Saucelle | 2744 | 41.0474 | -6.804 | 181.5
Alqueva I II | PHS | 46 | PT | 38.1956 | -7.4977 | Alqueva | 2857 | 38.1954 | -7.4954 | 3150 | Pedrogao |  | 38.1106 | -7.6292
Ciunget | STO | 47 | RO | 45.447 | 23.7682 | Vidra | 3856 | 45.4306 | 23.7333 | 340
Silz | STO | 48 | AT | 47.2698 | 10.9678 | Laengental |  | 47.212 | 11.001 | 3
Anapo | PHS | 49 | IT | 37.1183 | 15.1394 | Anapo upper reservoir |  | 37.1291 | 15.1393 | 5.6 | Anapo lower reservoir |  | 37.1113 | 15.1422
Porabka-zar | PHS | 50 | PL | 49.7804 | 19.2116 | Zar |  | 49.7873 | 19.23 | 2 | Miedzybrodzie | 3768 | 49.807 | 19.2014
Rodundwerk I II | PHS | 51 | AT | 47.0851 | 9.8813 | Latschau |  | 47.076 | 9.8745 | 2.24 | Rodund |  | 47.0859 | 9.8765
Zakucac | STO | 52 | HR | 43.4581 | 16.7027 | Zakucac |  | 43.5461 | 16.7367 | 0
Rana | STO | 53 | NO | 66.3028 | 14.2603 | Akersvatnet | 3054 | 66.1796 | 14.4504 | 1244.7
Rana - additonal reservoir |  | 53 | NO |  |  | Kallvatnet | 3053 | 66.237 | 14.932 | 706
Rana - additonal reservoir |  | 53 | NO |  |  | Gresvatnet | 3055 | 66.06 | 14.46 | 314
Rana - additonal reservoir |  | 53 | NO |  |  | Kjensvat |  | 66.0697 | 14.2533 | 28
Waldeck II | PHS | 54 | DE | 51.1665 | 9.0466 | Oberbecken Waldeck II |  | 51.1583 | 9.025 | 4.4 | Affoldener See | 3212 | 51.1828 | 9.0591
Cedillo | RoR | 55 | ES | 39.6653 | -7.5402 | Cedillo | 2803 | 39.6649 | -7.54 | 260
Porjus | STO | 56 | SE | 66.9543 | 19.7961 | Porjus | 3696 | 66.959 | 19.8054 | 610
Messaure | STO | 57 | SE | 66.6911 | 20.3436 | Messaure dam | 3700 | 66.687 | 20.3347 | 54
Cheylas | PHS | 58 | FR | 45.385 | 5.999 | Flumet |  | 45.3823 | 6.0593 | 4.7 | Cheylas |  | 45.3831 | 5.988
Cheylas - additonal reservoir | RoR | 58 | FR |  |  | Longefan |  | 45.2876 | 6.3588 | 1.7
Letsi | STO | 59 | SE | 66.4996 | 20.3546 | Letsi | 3703 | 66.5024 | 20.3744 | 68
Dalesice | PHS | 60 | CZ | 49.1244 | 16.1242 | Dalesice | 3786 | 49.1287 | 16.1171 | 127.3 | Mohelno | 3788
San Giacomo | PHS | 61 | IT |  |  | Provvidenza |  | 42.5076 | 13.4054 | 1.69 | Piaganini |  | 42.561 | 13.5633
Gento-Sallente | PHS | 62 | ES | 42.5004 | 0.99149 | Gento |  | 42.5035 | 0.99069 | 3 | Sallente |  | 42.5043 | 0.99031
Picote I + II | RoR | 63 | PT | 41.3783 | -6.3516 | Picote | 2730 | 41.3793 | -6.3517 | 13.43
Tierfehd | PHS | 64 | CH | 46.85 | 9.0008 | Limmern | 3311 | 46.8454 | 9.0104 | 92 | Tierfehd
Pouget | PHS | 65 | FR | 44.0597 | 2.77 | Villefranche-de-Panat | 3438 | 44.0922 | 2.7023 | 10.9
Pouget - additonal reservoir | STO | 65 | FR |  |  | Pareloup | 3436 | 44.1994 | 2.7394 | 167
Kremasta | STO | 66 | EL | 38.884 | 21.4938 | Kremasta | 4026 | 38.8872 | 21.4953 | 4750
Tokke | STO | 67 | NO | 59.4444 | 8.0383 | Vinjevatn |  | 59.6097 | 7.8543 | 11.2 | Bandak |  | 59.4413 | 8.0355
Bemposta | RoR | 68 | PT | 41.3017 | -6.4697 | Bemposta | 2732 | 41.3009 | -6.4694 | 14.43
Grosio | RoR | 69 | IT | 46.2918 | 10.2665 | Val Grosina |  | 46.3288 | 10.2473 | 1.2
Genissiat | RoR | 70 | FR | 46.0527 | 5.8129 | Genissiat | 3373 | 46.0538 | 5.8129 | 56
Riga | STO | 71 | LV | 56.8513 | 24.272 | Riga | 3735 | 56.8521 | 24.2746 | 340 | Daugava
Cruachan | PHS | 72 | GB | 56.4064 | -5.1131 | Cruachan |  | 56.4071 | -5.1127 | 10 | Loch Awe | 3053 | 56.3802 | -5.0737
Kaunertal | STO | 73 | AT | 47.0341 | 10.7481 | Gepatsch | 3309 | 46.9555 | 10.7406 | 140
Nendaz | STO | 74 | CH | 46.1833 | 7.3 | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400
Thisavros | PHS | 75 | EL | 41.3544 | 24.3669 | Thissavros | 3991 | 41.354 | 24.3664 | 565 | Platanovryssi | 3992 | 41.3365 | 24.4621
Serre-Poncon | STO | 76 | FR | 44.4716 | 6.2706 | Serre-Poncon | 3433 | 44.4719 | 6.2706 | 1270
Tyin | STO | 77 | NO | 61.3059 | 7.7911 | Tyin |  | 61.2989 | 8.2096 | 313 | Ardalsvatnet |  | 61.2896 | 7.7496
Tajo De la Encantada (El Chorro) | PHS | 78 | ES | 36.9084 | -4.7629 | Tajo de la Encantada upper |  | 36.9038 | -4.7781 | 4 | Tajo de la Encantada |  | 36.9079 | -4.7626
Miranda | RoR | 79 | PT | 41.4898 | -6.2639 | Miranda | 2727 | 41.49 | -6.2642 | 6.66
Orlik | STO | 80 | CZ | 49.6068 | 14.1812 | Orlik | 3263 | 49.6068 | 14.1812 | 703.8
Monteynard | STO | 81 | FR | 44.9612 | 5.6888 | Monteynard | 3421 | 44.9611 | 5.6891 | 275
Hausling | PHS | 82 | AT | 47.1461 | 11.9672 | Zillergruendel | 3302 | 47.1214 | 12.0618 | 68.7 | Stillup |  | 47.1215 | 11.8672
Villarodin | STO | 83 | FR | 45.2129 | 6.7153 | Le Mont Cenis | 3411 | 45.2287 | 6.9463 | 332.2
Sackingen | PHS | 84 | DE | 47.5656 | 7.9536 | Eggbergbecken |  | 47.5809 | 7.9597 | 2.1 | Rhein
Ffestiniog | PHS | 85 | GB | 52.9808 | -3.9689 | Stwlan |  | 52.9809 | -3.99 | 1.7 | Tan-y-Grisiau |  | 52.9811 | -3.9665
San Massenza I | PHS | 86 | IT | 46.0677 | 10.9828 | Molveno |  | 46.1236 | 10.9574 | 32.7 | Lago Santa Massenza |  | 46.0668 | 10.9835
Conzere-Mondragon (Bollene) | RoR | 87 | FR | 44.3037 | 4.7424 | Canal Donzere-Mondragon |  | 44.3037 | 4.7424 | 0.2
Grimsel 2 | PHS | 88 | CH | 46.5654 | 8.3278 | Oberaar | 3330 | 46.5471 | 8.2713 | 61 | Grimsel | 3323 | 46.5471 | 8.2713
Bitsch (Biel) | RoR | 89 | CH | 46.3321 | 8.012 | Gibidum |  | 46.372 | 8.0022 | 9.2
Malgovert | STO | 90 | FR | 45.6253 | 6.7914 | Chevril | 3398 | 45.4932 | 6.933 | 230
Mequinenza | STO | 91 | ES | 41.369 | 0.27338 | Mequinenza | 3503 | 41.3692 | 0.2728 | 1533.8
Iron Gate II | STO | 92 | RO | 46.7889 | 22.5672 | Iron Gate 2 | 3891 | 44.3054 | 22.5639 | 868
Vinje | STO | 93 | NO | 59.6171 | 7.8564 | Totak |  | 59.7032 | 7.903 | 2360 | Vinjevatn |  | 59.6097 | 7.8543
Kilforsen | STO | 94 | SE | 63.5398 | 16.7614 | Imnas |  | 63.5639 | 16.6505 | 0 | Angerman
Fionnay (Dixence) | STO | 95 | CH | 46.0332 | 7.3079 | Grand Dixence reservoir | 3371 | 46.0803 | 7.4033 | 400
Kuhtai | PHS | 96 | AT | 47.2094 | 11.0056 | Finstertal | 3295 | 47.1979 | 11.0213 | 60 | Laengental |  | 47.212 | 11.001
Aurland III | PHS | 97 | NO | 60.8831 | 7.2483 | Nyhellervatn | 3107 | 60.8053 | 7.7497 | 448 | Vetlebotnvatn |  | 60.7905 | 7.5625
Kegums | STO | 98 | LV | 56.7405 | 24.7113 | Kegums | 3736 | 56.7372 | 24.7134 | 157 | Daugava
Ribarroja | RoR | 99 | ES | 41.2424 | 0.43076 | Ribarroja | 3505 | 41.2439 | 0.43241 | 206.9
Innertkirchen 1 | STO | 100 | CH | 46.7021 | 8.2353 | Gelmersee | 3319 | 46.6121 | 8.3221 | 14
Innertkirchen 1 - additonal reservoir |  | 100 | CH |  |  | Raeterichsboden | 3320 | 46.582 | 8.3314 | 27
Innertkirchen 1 - additonal reservoir |  | 100 | CH |  |  | Grimsel | 3323 | 46.5471 | 8.2713 | 95
Premadio | STO | 101 | IT | 46.4851 | 10.3534 | Cancano_San Giacomo | 3312 | 46.5177 | 10.3184 | 187 | Val Grosina |  | 46.3288 | 10.2473
Aurland II | STO | 102 | NO | 60.875 | 7.3223 | Vargevatn |  | 60.704 | 7.4917 | 0.108 | Viddalsvatn | 3104 | 60.8174 | 7.2544
Aurland II - additonal reservoir |  | 102 | NO |  |  | Svartevatn | 3167 | 59.1552 | 6.8927 | 3.734
Aurland II - additonal reservoir |  | 102 | NO |  |  | Langavatn | 3111 | 60.5527 | 7.1264 | 14.1885
Aurland II - additonal reservoir |  | 102 | NO |  |  | Katlavatn |  | 60.7934 | 7.4774 | 0.0425
Aurland II - additonal reservoir |  | 102 | NO |  |  | Bergdalsvatn
Aurland II - additonal reservoir |  | 102 | NO |  |  | Vesterdalstjern
Aurland II - additonal reservoir |  | 102 | NO |  |  | Vetlebotnvatn |  | 60.7905 | 7.5625 | 10
Hylen | STO | 103 | NO | 58.6167 | 6.0833 | Suldalsvatnet |  | 59.496 | 6.5395 | 44
Provvidenza | PHS | 104 | IT | 42.5112 | 13.4106 | Lago di Campotosto | 3477 | 42.5329 | 13.3874 | 217 | Provvidenza |  | 42.5076 | 13.4054
Rovinas Piastra | PHS | 105 | IT | 44.2247 | 7.3861 | Lago della Rovina |  | 44.1761 | 7.3429 | 1.2 | Lago della Piastra |  | 44.2228 | 7.3893
Brevieres | STO | 106 | FR | 45.5038 | 6.9256 | Chevril | 3398 | 45.4932 | 6.933 | 230
Note on L1: Marte: FLOW_ACC_M3/s 160413 NewDavid_data_within_eurodata.xlsx
Note on H3: W. Zappa: Not in Grand Database
Note on H4: W. Zappa: Not in Grand Database
Note on O4: Marte: Exact location unclear, but it is located in the Our river (wikipedia)
Note on B7: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H8: W. Zappa: Not in Grand Database
Note on B9: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on C9: Marte: Part of the plant is owned by Serbia, this part is not accounted for here
Note on G10: Marte: taken together because they lay directly next to each other
Note on H10: W. Zappa: Not in Grand Database
Note on A11: W. Zappa: Actually 2 plants, Sysima and Langsima
Note on B11: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on G11: W. Zappa: Also contains lake Rundavatn (Olbogavatnet in Google), but this is much smaller and not in GRAND
Note on H14: W. Zappa: Not in Grand Database
Note on H15: W. Zappa: Not in Grand Database
Note on H16: W. Zappa: Not in Grand Database, small balancing reservoir
Note on G17: Marte: taken together because they lay directly next to each other
Note on H17: W. Zappa: Not in Grand Database
Note on H18: W. Zappa: Not in Grand Database
Note on H19: W. Zappa: Not in Grand Database
Note on B20: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H20: W. Zappa: This could be a special one, several rivers/dams in cascade Messaure, Ligga, Harsranget, Porjus
Note on A21: W. Zappa: Known as Sira-Kvina in Stadkraft list of plants in PDF, but Tonstad on website
Note on B21: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H21: W. Zappa: Not in Grand Database
Note on G23: Marte: names of the two dams withholding the reservoir, reservoir name unknown
Note on H23: W. Zappa: Not in Grand Database
Note on H24: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B25: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on B28: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H31: W. Zappa: Not in Grand Database
Note on E34: W. Zappa: Don't know exactly
Note on H34: W. Zappa: Not in Grand Database
Note on K34: W. Zappa: https://no.wikipedia.org/wiki/Malta-Reisseck_vannkraftverk
Note on L34: W. Zappa: Volume 1.3 Mm3
Note on M34: W. Zappa: Not in Grand Database
Note on H35: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B36: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H36: W. Zappa: WZ added
Note on H37: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B41: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H41: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B42: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on B43: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H43: W. Zappa: Not in Grand Database
Note on K43: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on H47: W. Zappa: Not in Grand Database
Note on B50: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H51: W. Zappa: Not in Grand Database
Note on H52: W. Zappa: Not in Grand Database
Note on H53: W. Zappa: Not in Grand Database, small balancing reservoir
Note on K53: Marte: total = 2.3 MCM, active = 2.0 MCM (wikipedia)
Note on H54: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B55: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H55: W. Zappa: Not in Grand Database, small balancing reservoir
Note on K55: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on B56: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on K56: Marte: sum active volumes all reservoirs (wikipedia)
Note on H57: W. Zappa: WZ added
Note on H58: W. Zappa: WZ added
Note on H59: W. Zappa: Not in Grand Database
Note on H60: W. Zappa: Not in Grand Database
Note on B62: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on B63: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H64: W. Zappa: Not in Grand Database, small balancing reservoir
Note on K64: Marte: maybe total, not active? (wikipedia). GEO says 4.8 MCM total.
Note on H65: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B66: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H68: W. Zappa: Not in Grand Database
Note on H69: W. Zappa: Not in Grand Database, small balancing reservoir
Note on G71: Marte: also: "Lake Hintersand" according to wikipedia, but coords could not be found (capacity 0.11 MCM, so small compared to Limmern). Left out here. https://en.wikipedia.org/wiki/Linth%E2%80%93Limmern_Power_Stations
Note on H73: W. Zappa: WZ added
Note on B74: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on B75: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H75: W. Zappa: Not in Grand Database
Note on H77: W. Zappa: Not in Grand Database, small balancing reservoir
Note on B79: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H80: W. Zappa: Not in Grand Database, small balancing reservoir
Note on M80: W. Zappa: WZ added
Note on E81: Marte: coordinates of Kaunertal (village) - exact location of power plant not found
Note on G82: Marte: partly supplied by melting water from glaciers via La Borgne de Ferpècle and La Borgne d'Arolla
Note on B85: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H85: W. Zappa: Not in Grand Database
Note on K85: Marte: total volume (wikipedia)
Note on H86: W. Zappa: Not in Grand Database
Note on B88: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on G92: W. Zappa: Not in Grand Database
Note on H92: W. Zappa: Not in Grand Database, small balancing reservoir
Note on H93: W. Zappa: Not in Grand Database
Note on M93: W. Zappa: Not in Grand Database, small balancing reservoir
Note on H94: W. Zappa: Not in Grand Database
Note on K94: Marte: Estimation! Area 3,27 km2 (wikipedia (italian)), 10 m water difference allowed (assumption)
Note on H95: W. Zappa: Not in Grand Database
Note on K95: Marte: Estimation! Could not be found. Estimated very small: no significant broader part in canal can be seen in google.maps., except for navigation lock
Note on H97: W. Zappa: Not in Grand Database
Note on B100: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on C100: Marte: Part of the plant is owned by Serbia, this part is not accounted for here
Note on B101: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H101: W. Zappa: Not in Grand Database
Note on B102: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on G102: Marte: small balancing reservoir? not found. Treated as RoR without reservoir storage
Note on H102: W. Zappa: Not in Grand Database
Note on K102: Marte: Volume withhold could not be found, pure run of river without storage is assumed
Note on B106: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H111: W. Zappa: WZ change from 3334/3312 based on ArcGIS and viewing map
Note on B112: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on G112: W. Zappa: Not in Grand Database
Note on H112: W. Zappa: Not in Grand Database
Note on K112: Marte: =deltaH*Area
Note on K113: Marte: =deltaH*Area
Note on K114: Marte: =150*94.59/1000 =deltaH*Area km2/1000 But… 150 is estimated! Real value can deviate
Note on H115: W. Zappa: Not in Grand Database
Note on K115: Marte: =deltaH*Area
Note on H116: W. Zappa: Not in Grand Database
Note on H117: W. Zappa: Not in Grand Database
Note on H118: W. Zappa: Not in Grand Database
Note on B119: W. Zappa: Don't know yet, need LT data from Edwin. Assuming STO for now.
Note on H119: W. Zappa: Not in Grand Database
Note on H120: W. Zappa: WZ added
Note on H121: W. Zappa: Not in Grand Database